## Sheet1
Lighting Fixture Schedule
FIXTURE | DESCRIPTION | FIXTURE TYPE | MANUFACTURER | LINKS TO SPEC SHEETS | LINKS TO IES FILES | LINKS TO BIM FILES | SPACE
| wall grazer (static white) | Cove/Perimeter | Lumenwerx | https://lumenwerx.com/en/product-line/via-perimeter/ | https://lumenwerx.com/en/product-line/via-perimeter/ | https://lumenwerx.com/en/product-line/via-perimeter/ | Conference Room
#VALUE! | field-interchangeable beam angles | Downlight | Lumenwerx | Downloads - Lumenwerx | Downloads - Lumenwerx | Downloads - Lumenwerx | Conference Room
#VALUE! | specify with Lutron Athena Wireless Node for tunable lighting 10-day Quick Ship | Linear | Lumenwerx | Downloads - Lumenwerx | Downloads - Lumenwerx | Downloads - Lumenwerx | Conference Room
#VALUE! | 95+ CRI; up to 6W/ft | Tape Light | Nova Flex | https://www.novaflexled.com/product/ss-whe-6-0w/ | https://www.novaflexled.com/product/ss-whe-6-0w/ | no BIM files | Kitchen
| deep luminaire UGR as low as 1 | Downlight | Lumenwerx | Downloads - Lumenwerx | Downloads - Lumenwerx | Downloads - Lumenwerx | Kitchen
#VALUE! | 3 layers of acoustic panels 29 felt color options | Acoustic Pendant | Lumenwerx | Downloads - Lumenwerx | no IES files | Downloads - Lumenwerx | Kitchen
#VALUE! | installs in grid or gypsum ceilings | Recessed | Lumenwerx | Downloads - Lumenwerx | Downloads - Lumenwerx | Downloads - Lumenwerx | Kitchen
#VALUE! | classic ring with innovative louver design | Ring | Beta Calco | Ooooh Ring™ Ceiling Configurator | Ooooh Ring™ Ceiling Configurator | Ooooh Ring™ Ceiling Configurator | Lobby / Open Area
#VALUE! | adaptable lighting system with flexible joiner that bends up to 360 degrees in any horizontal direction | Adaptable Lighting System | Beta Calco | https://betacalco.com/products/Bend-It/configurator | https://betacalco.com/products/Bend-It/configurator | https://betacalco.com/products/Bend-It/configurator | Lobby / Open Area
| 3” recessed downlight NSF rated (static white) | Downlight | Prescolite | LITEISTRY™ LTR-3RD Indoor Lighting ¦ ¦ Current | LITEISTRY™ LTR-3RD Indoor Lighting ¦ ¦ Current | LITEISTRY™ LTR-3RD Indoor Lighting ¦ ¦ Current | Lobby / Open Area
| acoustic pendant linear (static white) | Acoustic Pendant | OCL | https://ocl.com/wp-content/uploads/2019/07/OCL_KWYET_LED_STD_SPEC_JUN2020.pdf | https://ocl.com/product/kwyet_pendant/ | https://ocl.com/product/kwyet_pendant/ | Lobby / Open Area
#VALUE! | linear luminaire with optical flexibility (static white) | Linear Pendant | Xico | MICROBeam MCO Pendant Mounted LED Linear - Xico Lighting | MICROBeam MCO Pendant Mounted LED Linear - Xico Lighting | MICROBeam MCO Pendant Mounted LED Linear - Xico Lighting | Open Office
#VALUE! | 48 distinct model & optical combos 10 day quick ship | Linear Pendant | ALW | LightPlane+ 2 - Products - ALW - Illuminate the Soul | LightPlane+ 2 - Products - ALW - Illuminate the Soul | LightPlane+ 2 - Products - ALW - Illuminate the Soul | Open Office
| acoustic pendant linear (static white) | Acoustic Pendant | Luxxbox | https://www.luxxbox.com/content/uploads/2020/07/LX-Blade-Spec-Sheet-2020-v5.6.pdf | https://www.luxxbox.com/product/blade/ | https://www.luxxbox.com/product/blade/ | Open Office
| automated window treatment | Window System | Lutron | https://www.lutron.com/en-US/Service-Support/Pages/Technical/PerfomanceSpecs.aspx | no IES files | https://www.lutron.com/en-US/Service-Support/pages/Technical/RevitDownloads.aspx?syst=Shading+Systems&prodn=Sivoia+QS | Open Office
| automated window treatment | Window System | Lutron | https://www.lutron.com/en-US/Products/Pages/ShadingSystems/ContractRoller/Overview.aspx | no IES files | https://www.lutron.com/en-US/Service-Support/pages/Technical/RevitDownloads.aspx?syst=Shading+Systems&prodn=Contract+Roller+Shades | Open Office
| wall grazer (static white) | Cove/Perimeter | Lumenwerx | https://lumenwerx.com/en/product-line/via-perimeter/ | https://lumenwerx.com/en/product-line/via-perimeter/ | https://lumenwerx.com/en/product-line/via-perimeter/ | Private Office
#VALUE! | illumination with outstanding optical performance UGR <10 | Downlight | Lumenwerx | Downloads - Lumenwerx | Downloads - Lumenwerx | Downloads - Lumenwerx | Private Office
| indirect/direct cylinder (static white) | Cylinder | Meteor | https://www.meteor-lighting.com/media/METEOR-Orion-4-Specification_-_BIOS_k2GdMv2.pdf | https://www.meteor-lighting.com/bios | https://www.meteor-lighting.com/bios | High Ceiling Open Office
| direct/indirect cylinder (static white) | Cylinder | ALW | https://alwusa.com/wp-content/uploads/2019/12/CORE-BIOS-Specification-7-8-20.pdf | https://alwusa.com/products/core-cx/ | https://alwusa.com/products/core-cx/ | High Ceiling Open Office
| round cylinders (dim to warm) | Cylinder | Lightheaded Lighting | https://lightheadedlighting.com/assets/product-series/LED-PIPE-3-Round-Fixed-Pendant/Product-Spec-Sheet/C3PR-3in-Round-Fixed-Pendant-Standard-LED-Specs.pdf | https://lightheadedlighting.com/product/led-pipe-3-round-fixed-pendant/led-pipe-3-round-fixed-pendant-bro/ | no BIM files | High Ceiling Open Office
| dynamic spectrum tunable lamp | Tunable lamp | Ketra | https://www.ketra.com/hubfs/Active%20PDFs/Athena%20Update%20Spec%20Sheets/A20_Spec_3662386e.pdf | https://www.ketra.com/led-lighting-products/lamps/a20 | no BIM files | Wellness Room
#VALUE! | acoustic pendant available in 3 sizes and several colors | Acoustic Pendant | Luxxbox | Vapor Echo Cylinder Acoustic Light ¦ Luxxbox ¦ Superior performance | Vapor Echo Cylinder Acoustic Light ¦ Luxxbox ¦ Superior performance | no BIM files | Wellness Room
#VALUE! | 24", 36", 48" | Acoustic Ring | OCL | Glowring™ Acoustic Pendant - OCL Architectural Lighting | Glowring™ Acoustic Pendant - OCL Architectural Lighting | Glowring™ Acoustic Pendant - OCL Architectural Lighting | Wellness Room
| decorative post top (static white) | Area/Site | Kim Lighting | Kim Lighting Ouro Family ¦ Current - HLI Brands | Kim Lighting Ouro Family ¦ Current - HLI Brands | Kim Lighting Ouro Family ¦ Current - HLI Brands | Site / Area
| customizable bollard (static white or RGBW) | Bollard | Kim Lighting | Pavilion Round Outdoor Lighting ¦ ¦ Current | Pavilion Round Outdoor Lighting ¦ ¦ Current | Pavilion Round Outdoor Lighting ¦ ¦ Current | Site / Area
| decorative pole mount (static white) | Area/Site | Architectural Area Lighting | KicK™ Medium Outdoor Lighting ¦ ¦ Current | KicK™ Medium Outdoor Lighting ¦ ¦ Current | KicK™ Medium Outdoor Lighting ¦ ¦ Current | Site / Area