19-25 CPP Swimming Pools and Spas Review Summary of Changes July 2026

Project Webpage: Swimming Pool and Spa Service Review | BuildSkills Australia

# Summary of Changes

Summary of the amendments to qualifications made to date:

CPP31226 Certificate III in Swimming Pool and Spa Service

Reduced total number of units to achieve this qualification from 18 to 14 - Reduced core units from 12 to 9 - Reduced elective units from 6 to 5 Updated 3 units of competency - CPPSPS3004 Maintain swimming pool and spa water circulation and filtration systems - CPPSPS3005 Maintain swimming pool and spa dosing systems - CPPSPS3006 Maintain swimming pool and spa cleaning and vacuuming systems Moved 1 unit of competency from core to electives - CPPSPS3008 Work in the swimming pool and spa servicing industry Removed two core units of competency - BSBWOR301 Organise personal work priorities and development - CPPCMN3005 Complete client documentation Added 3 newly created units of competency to the core units list - CPPSPS3017 Use and maintain digital service records technology for swimming pool and spa systems - CPPSPS3018 Apply public safety, health and compliance practices in swimming pool and spa operations - CPPSPS3021 Perform post-service inspection and customer handover Added 3 newly created units of competency to the electives - CPPSPS3019 Service and repair hydraulic and mechanical swimming pool and spa systems to the electives - CPPSPS3020 Maintain automated and digital swimming pool and spa control systems to the electives - CPPSPS3022 Apply energy and water efficiency practices in swimming pool and spa operations to the electives Replaced 2 imported units of competency with their relevant superseding units and moved these units from the core to the elective units list - Replaced imported unit SISCAQU001 Test pool water quality with the unit it is superseded by - SISCAQU015 Test pool water quality - Replaced imported unit SISCAQU004 Develop and implement pool water maintenance procedures with the unit it is superseded by - SISCAQU016 Manage pool water quality - Replaced imported unit CPPDSM3009 Maintain workplace safety in the property industry with an imported unit from the BSB Business Services Training Package BSBWHS308 Participate in WHS hazard identification, risk assessment and risk control processes and moved this unit from the core to the elective units list.

CPP41326 Certificate IV in Swimming Pool and Spa Service

Updated packaging rules - Reduced total number of units to achieve this qualification from 20 to 15 - Increased core units from 8 to 9 - Reduced elective units from 12 to 6 Removed entry requirements - Removed the requirement for candidates to hold CPP31218 Certificate III in Swimming Pool and Spa Service or CPP31212 Certificate III in Swimming Pool and Spa Service Moved 2 elective units to the core - CPPSPS4012 Design, install and service automated systems for swimming pools and spas - CPPSPS4016 Advise on swimming pool and spa products and services Removed 1 core unit - BSBRSK401 Identify risk and apply risk management processes Replaced Superseded Core unit - CPPSPS4010 Inspect, service and repair aquatic facility plant and equipment Removed 15 imported elective units - BSBCUE302 Deploy customer service field staff - BSBCUE304 Provide sales solutions to customers - BSBCUE309 Develop product and service knowledge for customer engagement operation - BSBCUS402 Address customer needs - BSBESB402 Establish legal and risk management requirements of new business ventures - BSBESB404 Market new business ventures - BSBESB406 Establish operational strategies and procedures for new business ventures - BSBESB407 Manage finances for new business ventures - BSBLDR413 Lead effective workplace relationships - BSBSMB407 Manage a small team - BSBSMB417 Recruit staff - BSBSMB421 Manage small business finances - SISCAQU014 Operate self-contained breathing apparatus in an aquatic facility - SISXRSK301A Undertake risk analysis of activities - SISXWHS101 Follow work health and safety policies Added 4 imported units of competency to the electives - SIRXCEG008 Manage disrespectful, aggressive or abusive customers - SIRXCEG002 Assist with customer difficulties - SISCAQU018 Operate self-contained breathing apparatus in aquatic facility emergencies - SISXFAC008 Monitor and maintain facility plant and equipment Replaced 6 imported units of competency with their relevant superseding units - SISCAQU001 Test pool water quality replaced by SISCAQU015 Test pool water quality - SISCAQU004 Develop and implement pool water maintenance procedures replaced by SISCAQU016 Manage pool water quality - SISCAQU003 Maintain aquatic facility plant and equipment replaced by SISCAQU017 Monitor and maintain aquatic facility plant and equipment - SISCAQU005 Develop and implement aquatic facility maintenance procedures replaced by SISXFAC009 Coordinate facility maintenance - SISXEMR001 Respond to emergency situations replaced by SISXEMR003 Respond to emergency situations SISXEMR002 Coordinate emergency response replaced by SISXEMR004 Coordinate emergency response.

| Summary of the amendments to units of competency made to date: CPP31326 Certificate III in Swimming Pools and Spa Service |  |  |  |  |
| --- | --- | --- | --- | --- |
| Current unit code and title | Proposed replacement unit code and title | Status | Core/ Elective | Modification history and proposed amendments​ |
| CPPSPS3004 Maintain swimming pool and spa water circulation and filtration systems | CPPSPS3014 Maintain swimming pool and spa water circulation and filtration systems | Not equivalent | Core | Supersedes and is not equivalent to CPPSPS3004 Maintain swimming pool and spa water circulation and filtration systems. The unit has been rewritten with substantial changes to application, elements, performance criteria, performance evidence and assessment conditions. Application Application updated to explicitly include routine installation tasks, limited to like-for-like component changeovers undertaken within scope of own authority, in addition to routine maintenance activities. Elements Elements restructured and reworded to reflect the inclusion of routine installation outcomes and clearer sequencing of work: Element 1 expanded to include preparation for routine maintenance and routine installation tasks Element 2 strengthened to emphasise safe and sustainable work practices Element 3 expanded to include routine installation tasks in addition to maintenance Element 4 revised to strengthen finalisation, handover and documentation outcomes. Performance criteria Performance criteria revised and expanded to reflect the inclusion of routine installation and clearer performance standards, including: confirming routine installation task requirements and relevant documentation inspecting and assessing systems against normal operating criteria to identify deviations carrying out routine installation tasks limited to like-for-like component changeovers replacing worn or defective components within scope of own authority referring tasks outside scope of own authority and coordinating with licensed trades where required verifying basic system operation following maintenance or routine installation tasks completing work completion records and providing client information. Performance evidence Performance evidence expanded to explicitly require demonstration of: routine maintenance on existing circulation and filtration systems, including cleaning strainers, backwashing filters, inspecting pipework and seals, and replacing worn components at least one routine installation task limited to a like-for-like component changeover. Knowledge evidence Knowledge evidence expanded to support the inclusion of routine installation tasks, including: Australian Standards applicable to routine installation and maintenance of circulation and filtration systems routine installation practices limited to like-for-like component changeovers identification of typical system faults and symptoms coordination requirements with licensed electrical and plumbing trades verification of basic system operation following maintenance or routine installation. Assessment conditions Assessment conditions expanded to make explicit industry expectations that assessment (including simulation where used) must replicate realistic workplace environments, including access to: a functioning pool or spa circulation and filtration system manufacturer specifications and workplace documentation tools, components and PPE appropriate to routine maintenance and like-for-like installation tasks digital or manual field service documentation systems |
| CPPSPS3005 Maintain swimming pool and spa dosing systems | CPPSPS3015 Maintain swimming pool and spa water dosing systems | Not equivalent | Core | Supersedes and is not equivalent to CPPSPS3005 Maintain swimming pool and spa dosing systems. The unit has been rewritten with substantial changes to the application, elements, performance criteria, performance evidence, knowledge evidence and assessment conditions. Application Application updated to explicitly include routine installation tasks, in addition to routine maintenance, reflecting contemporary industry practice for dosing systems. Elements Elements restructured and reworded to reflect the inclusion of routine installation outcomes and clearer sequencing of work: Element 1 expanded from maintenance-only preparation to preparation for routine maintenance and routine installation of dosing systems Element 2 strengthened to emphasise safe and sustainable work practices across dosing activities Element 3 expanded to include routine installation tasks in addition to routine maintenance and repair Element 4 revised to strengthen finalisation, handover and chemical management outcomes. Performance criteria Performance criteria revised and expanded to reflect the inclusion of routine installation activities and clearer performance standards, including: confirming routine maintenance and routine installation task requirements with relevant personnel and customers implementing and confirming effectiveness of WHS risk control measures prior to starting work selecting tools, equipment and materials and checking serviceability prior to use coordinating work with licensed electrical and plumbing trades where required inspecting and assessing dosing systems against normal operating criteria to identify deviations carrying out routine maintenance and repairs, including replacement of worn or defective components within scope of own authority carrying out routine installation tasks limited to like-for-like component changeovers verifying dosing system performance following maintenance or routine installation securing, labelling and storing chemical containers providing client information and completing work completion records. Performance evidence Performance evidence expanded to explicitly require demonstration of: maintaining dosing systems for at least two swimming pools and two spas planning and preparing work, including coordination with licensed trades where required selecting and checking serviceability of tools, equipment and materials implementing WHS and environmental controls prior to and during work inspecting and assessing dosing systems to identify deviations from normal operating criteria carrying out routine maintenance activities and like-for-like component changeovers verifying basic system operation following maintenance or routine installation securing, labelling and storing chemical containers reinstating the work area, providing client information and completing required documentation. Knowledge evidence Knowledge evidence expanded and modernised to support the broader scope of dosing system work, including: principles of dosing and water chemistry and their role in public health outcomes control principles for manual, automatic and proportional dosing systems dosing system components, sensors, probes, alarms and interlocks common dosing system faults and safe corrective actions routine installation procedures, including priming, calibrating and verifying dosing accuracy responsibilities and coordination requirements when working with licensed electrical and plumbing trades hazards associated with chemical dosing systems and emergency response procedures environmental considerations for chemical storage, waste disposal and washdown water management record-keeping, traceability and reporting requirements. Assessment conditions Assessment conditions expanded to make explicit industry expectations that assessment (including simulation where used) must replicate realistic workplace environments, including access to: a functioning pool or spa system with dosing and disinfection equipment manufacturer specifications, installation drawings and technical data relevant Australian Standards and regulatory documentation tools, materials, components and PPE appropriate to dosing system installation and maintenance digital or manual field service documentation systems used for routine installation, testing and maintenance records. |
| CPPSPS3006 Maintain swimming pool and spa cleaning and vacuuming systems | CPPSPS3016 Maintain swimming pool and spa cleaning and vacuuming systems | Not equivalent | Core | Supersedes and is not equivalent to CPPSPS3006 Maintain swimming pool and spa cleaning and vacuuming systems. The unit has been rewritten with substantial changes to the application, elements, performance criteria, performance evidence, knowledge evidence and assessment conditions. Application Application expanded from routine maintenance only to include routine installation and commissioning of swimming pool and spa cleaning and vacuuming systems. Elements Elements restructured and reworded to reflect the expanded scope of work and clearer sequencing of activities: Element 1 expanded from preparation for maintenance only to preparation for routine installation and routine maintenance Element 2 strengthened to explicitly address safe and sustainable work practices Element 3 expanded to include routine installation and commissioning, in addition to maintenance and repair Element 4 revised to strengthen finalisation, handover and documentation outcomes, including digital record-keeping. Performance criteria Performance criteria revised and expanded to reflect contemporary industry practice and clearer performance standards, including: confirming task scope, objectives and performance outcomes such as coverage area, suction and flow rates inspecting pool and plant-room layout, including suction ports, hose routes, obstructions and hazards selecting and checking tools, equipment and components for compatibility and serviceability planning and sequencing work for routine installation and verification of system performance coordinating work activities with licensed trades where required carrying out routine maintenance and repairs, including replacement of worn or defective components within scope of own authority carrying out routine installation tasks limited to like-for-like component changeovers verifying system safety and performance, including entrapment-prevention requirements strengthening client handover, waste disposal and record-keeping requirements. Performance evidence Performance evidence expanded to explicitly require demonstration of: installing, commissioning and maintaining cleaning and vacuuming systems for at least two swimming pools and two spas working across a range of system types, including suction, pressure-side, in-floor and robotic systems inspecting layouts and hazards prior to work commencement planning and sequencing routine installation, maintenance and commissioning activities performing routine maintenance tasks such as cleaning strainers and filters, inspecting hoses and fittings, and replacing worn or damaged parts commissioning systems to verify safe and effective operation and compliance with entrapment-prevention requirements identifying and reporting faults requiring specialist or licensed trade intervention minimising environmental impact during work activities completing documentation and providing required client or supervisor information. Knowledge evidence Knowledge evidence substantially expanded and modernised to support the broadened scope of work, including: principles of operation of different cleaning and vacuuming system types and their hydraulic relationships commissioning principles and procedures for cleaning and vacuuming systems entrapment-prevention hazards, controls and relevant Australian Standards and regulatory requirements pre-work inspection requirements for layouts, suction points, hose routes and hazards routine installation, maintenance and servicing practices, including common wear items and fault indicators environmental impact minimisation during work activities coordination requirements and limits of authority when working with licensed trades emergency procedures and documentation and handover requirements. |
| N/A | CPPSPS3017 Use and maintain digital service records technology for swimming pool and spa systems | N/A | Core | Newly created unit. |
| N/A | CPPSPS3018 Apply public safety, health and compliance practices in swimming pool and spa operations | N/A | Core | Newly created unit. |
| N/A | CPPSPS3019 Service and repair hydraulic and mechanical swimming pool and spa systems to the electives | N/A | Elective | Newly created unit. |
| N/A | CPPSPS3020 Maintain automated and digital swimming pool and spa control systems to the electives | N/A | Elective | Newly created unit. |
| N/A | CPPSPS3021 Perform post-service inspection and customer handover | N/A | Core | Newly created unit. |
| N/A | CPPSPS3022 Apply energy and water efficiency practices in swimming pool and spa operations to the electives | N/A | Elective | Newly created unit. |

Summary of the amendments to units of competency made to date: CPP41326 Certificate IV in Swimming Pool and Spa Service

| Current unit code and title​ | Proposed replacement unit code and title​ | Status | Core/ Elective​ | Modification history and proposed amendments​ |
| --- | --- | --- | --- | --- |
| CPPSPS4007 Inspect, service and repair aquatic facility plant and equipment | CPPSPS4010 Inspect, service and repair aquatic facility plant and equipment | Equivalent | Core | Supersedes and is equivalent to CPPSPS4007. The unit has been revised with changes to the application, elements, performance criteria, performance evidence, knowledge evidence and assessment conditions. Application Application updated to aquatic facility plant and equipment” with broader references to “aquatic environment and equipment”. Elements Elements revised and updated to strengthen clarity, regulatory alignment and consistency of terminology: Element 2 updated from “Inspect aquatic facility plant, equipment and components” to “Inspect aquatic environment, equipment and components” Element 3 updated from “Maintain aquatic facility plant and equipment” to “Maintain aquatic environment and equipment” Element 4 updated from “Resolve faults in aquatic facility plant and equipment” to “Resolve faults in aquatic environment and equipment” Element 5 updated from “Complete inspection, repair and service” to “Complete inspection, repair and service”. Performance criteria Performance criteria revised o strengthen alignment with regulatory requirements, worksite procedures and manufacturer instructions, including: clarifying coordination requirements with licensed personnel strengthening reporting requirements for inspection outcomes clarifying maintenance and servicing requirements in accordance with worksite procedures strengthening fault analysis, repair and commissioning requirements clarifying limitations of authority and licensing boundaries strengthening WHS and sustainability requirements during repair activities strengthening documentation, reporting and client advice requirements revising non-compliance reporting requirements to focus on aquatic environments and safety and regulatory requirement. Performance evidence Performance evidence revised to: remove the explicit requirement to inspect and service aquatic plant, equipment and components on three occasions require application of technical knowledge and advanced diagnostic skills to identify and repair two faults for at least three of the following: swimming pools spas aquatic environments strengthen alignment with licensing restrictions and regulatory requirements. Knowledge evidence Knowledge evidence expanded to replace references to “aquatic facility plant and equipment” with “aquatic environment and equipment”. Assessment conditions Assessment conditions revised to remove assessor requirements and simulated workplace environment statements. |

A range of units of competency has been imported into the CPP Training Package to provide greater flexibility, choice and transferability of skills within the industry.

List of imported and pre-requisite units:

| Code | Title | Host Training Package |
| --- | --- | --- |
| CPCCCM2012* | Work safely at heights | CPC Construction, Plumbing and Services Training Package |
| CPCCWHS2001 | Apply WHS requirements, policies and procedures in the construction industry | CPC Construction, Plumbing and Services Training Package |
| SISCAQU015 | Test pool water quality | SIS Sport, Fitness and Recreation Training Package |
| SISCAQU016 | Manage pool water quality | SIS Sport, Fitness and Recreation Training Package |
| SISCAQU017 | Monitor and maintain aquatic facility plant and equipment | SIS Sport, Fitness and Recreation Training Package |
| SISXFAC009 | Coordinate facility maintenance | SIS Sport, Fitness and Recreation Training Package |
| SISCAQU018 | Operate self-contained breathing apparatus in aquatic facility emergencies | SIS Sport, Fitness and Recreation Training Package |
| SISXEMR003 | Respond to emergency situations | SIS Sport, Fitness and Recreation Training Package |
| SISXEMR004 | Coordinate emergency response | SIS Sport, Fitness and Recreation Training Package |
| BSBSUS411 | Implement and monitor environmentally sustainable work practices | BSB Business Services |
| HLTAID011 | Provide first aid | HLT Health Training Package |
| RIIWHS202E | Enter and work in confined spaces | RII Resources and Infrastructure Industry Training Package |
| SIRRINV002 | Control stock | SIR Retail Services Training Package |
| SIRXCEG008 | Manage disrespectful, aggressive or abusive customers | SIR Retail Services Training Package |
| SIRXCEG002 | Assist with customer difficulties | SIR Retail Services Training Package |

BuildSkills is proposing the following amendments to skill sets:

| Current code and title | Proposed code and title | Status | Core/ Elective | Modification history and proposed amendments |
| --- | --- | --- | --- | --- |
| N/A | CPPSS00081 Swimming Pool and Spa Service Fundamentals Skill Set | Newly created | N/A | N/A |