CPCINS3001 Install preformed bulk insulation to walls, ceilings and floors of new construction

CPCINS3001 Install preformed bulk insulation to walls, ceilings and floors of new construction

# Modification History

| Release | Comments |
| --- | --- |
| 1 | This unit of competency was first released in CPC Construction, Plumbing and Services Training Package Release 11.0. |

# Application

This unit specifies the outcomes required to safely undertake wall, ceiling and floor insulation installation work using bulk insulation products. The unit includes identifying legislative, regulatory, and job requirements; planning and preparing to install insulation; installing insulation; and, completing installation, including preparation of a Statement of Insulation Installation.

The unit requires a person undertaking this work to comply with legislative, regulatory, safety and technical, organisational and site requirements while planning and carrying out the work.

The unit applies to insulation installers working primarily in residential class 1, 2 or 4 buildings, although there may be application in some instances in commercial buildings.

The work context involves working at heights, dust control and mitigation of risk from asbestos (including alterations and additions).

# Licensing/Regulatory Information

At the time of endorsement there was no requirement by any state or territory regulator for insulation installers to complete this unit for licensing or registration purposes.

# Pre-requisite unit(s)

Nil

# Competency field(s)

Insulation

# Unit sector(s)

Construction

# Elements and Performance Criteria

| ELEMENTS Elements describe the essential outcomes. |  | PERFORMANCE CRITERIA Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1. | Define job Requirements. | 1.1 | Identify scope of required installation activities through review of job requirements, work instructions and job site specifications, and inspection of work site readiness. |
|  |  | 1.2 | Assess and control all site risks and hazards and communicate and clarify any issues with supervisor or principal site foreman. |
|  |  | 1.3 | Identify required safety equipment, processes and safe systems of work by review of work order, risk assessment, Safety Data Sheets (SDS), Safe Use Instruction Sheet (SUIS) and jurisdictional work health and safety legislation. |
|  |  | 1.4 | Identify and review requirements of Australian Standards relating to insulation installation activities. |
|  |  | 1.5 | Identify and review condensation management requirements of the National Construction Code and Australian Standards and their site-specific climate zone. |
|  |  | 1.6 | Identify and review workplace environmental requirements that relate to the installation activities. |
|  |  | 1.7 | Identify and review workplace emergency response and evacuation procedures as they apply to the site of the installation activities. |
| 2. | Plan and prepare for installing insulation. | 2.1 | Undertake a general safety inspection in accordance with Australian Standards and jurisdictional requirements. |
|  |  | 2.2 | Confirm site specific requirements for electrical isolation and safety procedures. |
|  |  | 2.3 | Document and submit for approval a Safe Work Method Statement (SWMS) for the worksite, incorporating identified risks and hazards, electrical isolation procedure and the hazard hierarchy of control. |
|  |  | 2.4 | Plan job incorporating identified requirements of work order, work site, safety legislation, Australian Standards, environmental requirements, work instructions, job site specifications and SWMS. |
|  |  | 2.5 | Confirm that insulating material and insulation requirements meet work instructions and thermal and acoustic performance specifications. |
|  |  | 2.6 | Put in place all requirements of the SWMS. |
|  |  | 2.7 | Select Personal Protective Equipment (PPE), tools, equipment and associated materials, check for serviceability and report for repair or replacement where unserviceable. |
| 3. | Install wall, ceiling and floor insulation. | 3.1 | Isolate worksite electrical circuits and install safety signage and lock-out tag where required in accordance with Australian Standards and SWMS. |
|  |  | 3.2 | Undertake installation work in accordance with the SWMS. |
|  |  | 3.3 | Use approved methods of measurement and cutting of insulating material. |
|  |  | 3.4 | Install insulation in accordance with requirements of Australian Standards and manufacturer specifications. |
|  |  | 3.5 | Install insulation without damage or distortion of the surrounding environment, electrical and other services and in a manner that maximises safety of self and others. |
|  |  | 3.6 | Conduct final inspection to ensure installed insulation conforms to work instructions, Australian Standards and manufacturer specifications. |
| 4. | Complete installation. | 4.1 | Reenergise electrical circuits and remove lock-out tags, and safety signage where required in accordance with Australian Standards and SWMS. |
|  |  | 4.2 | Clean work area and dispose of, re-use or re-cycle materials following workplace and environmental procedures. |
|  |  | 4.3 | Clean, check, maintain and store tools and equipment in accordance with manufacturer specifications. |
|  |  | 4.4 | Document details of malfunctions, faults, wear or damage to tools and equipment and report for repair or replacement. |
|  |  | 4.5 | Document, distribute and store Statement of Insulation Installation. |

# Foundation skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of conditions

N/A

Assessment Requirements for CPCINS3001 Install preformed bulk insulation to walls, ceilings and floors of new construction

# Performance Evidence

A person who demonstrates competency in this unit must:

- Conduct a general safety inspection in accordance with Australian Standards and jurisdictional requirements.

- Plan and install bulk insulation in:

  - wall frames a minimum of 2400mm high by 3 continuous lineal metres;

  - underfloor space with a minimum area of 9 square metres; and

  - a ceiling space with a minimum area of 9 square metres, including perimeter installation area requirements.

Wall frame insulation installation must include at least one of the following:

- installed between timber or steel framing;

- installed via the interior of external framing;

- installed via the exterior of external framing; or

- a combination of the above.

The person must provide evidence from each of the above activities that:

- satisfies the elements and associated performance criteria and foundation skills of this unit; and

- confirms the activities to be in accordance with legislative and workplace requirements specified in Knowledge Evidence.

# Knowledge Evidence

A person demonstrating competency in this unit must provide evidence to demonstrate knowledge and understanding of the following knowledge evidence items. Each item defines the type of knowledge required to meet the demands of one or more performance criteria.

- Jurisdictional Work Health and Safety (WHS) and environmental legislation and regulatory requirements

- Workplace requirements for undertaking all aspects of wall, ceiling and floor insulation installation, including reading and interpreting work orders, work instructions, and job site specifications, and reporting problems relating to wall, ceiling and floor insulation installation

- Procedures to safely use equipment, shift and handle products and materials, and work at heights and in enclosed areas to install wall, ceiling and floor insulation in common situations

- Organisational procedures for responding to site risks and hazards including the presence of pests/vermin, asbestos and dust within an installation workspace

- Risks of asbestos containing materials (ACM), and their use in common building materials used in wall, ceiling and underfloor spaces

- Key requirements of legislation, regulation and building codes related to wall, ceiling and floor insulation

- Appropriate PPE and its use in wall, ceiling and floor insulation installation

- Safety data sheets (SDS) and Safe Work Method Statements (SWMS) commonly used in wall, ceiling and floor insulation installation

- Common health and safety risks associated with handling wall, ceiling and floor insulation products

- Emergency response and evacuation procedures relating to wall, ceiling and floor insulation installation

- Electrical risk assessment process, hazard identification and reporting according to Australian Standards for common wall, ceiling and floor insulation installation

- Hierarchy of hazard control as it relates to wall, ceiling and floor insulation installation

- Organisational requirements and procedures relating to wall, ceiling and floor insulation installation, including requirements for a systematic approach to planning own work

- Key requirements of Australian Standards relating to wall, ceiling and floor insulation, including:

  - confirming material label states that it complies with Australian Standards; and

  - Australian Standards wiring rules.

- Requirements relating to wall, ceiling and floor insulation installation from Australian Standards for:

  - personal safety;

  - electrical risk assessment;

  - approved processes; and

  - energy efficiency – new products and technologies.

- Manufacturer specifications of common wall, ceiling and floor installation materials, including R rating and dimensions

- Safety, characteristics, uses and limitations of common wall, ceiling and floor insulation installation tools and equipment

- Type and purpose of lock out tags in wall, ceiling and floor insulation installation

- Requirements of Australian Standards for wall, ceiling and floor insulation installation including:

  - operating temperature limit of electrical cables;

  - effect on cables partially surrounded by thermal insulation and fully surrounded by thermal insulation;

  - clearance and restraint methods to retain thermal insulation from recessed down lights and ancillary equipment; and

  - electrical hazards in wall, ceiling, underfloor and roof spaces, including unenclosed connections, unenclosed conductors, damaged cable sheaths and exposed conductors.

- Product and process knowledge to identify common problems and predict consequences in wall, ceiling and floor insulation installation

- Quality of installation of wall, ceiling and floor insulation material to achieve specified thermal and acoustic performance

- Energy efficiency of common wall, ceiling and floor insulation material types

- Methods for measuring and cutting wall, ceiling and floor insulation material

- Procedures for conducting a final inspection of a wall, ceiling and floor insulation installation

- Workplace procedures for environmental requirements for waste, including waste management and recycling relating to wall, ceiling and floor insulation installation

- Procedures for cleaning, checking and maintaining tools and equipment used for wall, ceiling and floor insulation installation

- Procedures for dealing with faulty wall, ceiling and floor insulation installation tools and equipment

- Procedures for documenting, distributing and storing Statements of Insulation Installation.

# Assessment Conditions

Assessors must satisfy the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment of performance must be undertaken in the workplace and/or under realistic workplace conditions which typically reflect:

- the use of industry standard equipment;

- performing tasks/activities to the level of proficiency and within timelines that would be expected in a workplace; and

- following standard and authorised work practices, safety requirements and environmental constraints.

Assessment must include work in a space with obstructions including framing and services, including; electrical, plumbing and air conditioning.

Assessors are responsible for ensuring that candidates have access to specifications for:

- a wall installation task with wall frames a minimum of 2400mm high by 3 continuous lineal metres;

- an underfloor space with a minimum area of 9 square metres; and

- a ceiling installation task in a ceiling space with a minimum area of 9 square metres.

Assessors are responsible for ensuring that candidates have access to:

- underfloor spaces;

- wall frames;

- ceiling spaces;

- materials and tools;

- relevant sections of the Australian Standards/National Construction Code;

- relevant sections of WHS/OHS legislation;

- electrical risk assessment report;

- SWMS template;

- Statement of Insulation Installation template;

- PPE; and

- technical documentation.

# Mandatory Workplace Requirements

Assessment of performance evidence may be in a workplace setting or an environment that accurately represents a real workplace.

# Unit Mapping Information

| Previous Code and Title | Equivalence | Comments |
| --- | --- | --- |
| CPCCPB3014 Install bulk insulation and pliable membrane products | Not equivalent | Major changes to unit code, title and application to provide clarity regarding the application of this unit to new construction preformed bulk insulation, and broaden the unit to include installation of wall and floor insulation. Major and minor edits to elements, performance criteria, performance evidence, knowledge evidence, and assessment conditions. |

# Links

Companion volumes, including implementation guides, are found on the national training register - https://training.gov.au/training/details/CPC.