CPPSPS3016 Maintain swimming pool and spa cleaning and vacuuming systems

CPPSPS3016 Maintain swimming pool and spa cleaning and vacuuming systems

# Modification History

| Release | Comments |
| --- | --- |
| 1 | This unit of competency was first released in CPP Property Services Training Package Release 19.0. |

# Application

This unit of competency specifies the skills and knowledge required to maintain swimming pool and spa cleaning and vacuuming systems, including suction, pressure, in-floor and robotic types.

It involves verifying correct operation, performing routine maintenance and documenting outcomes in accordance with manufacturer specifications, worksite procedures and regulatory requirements.

A swimming pool and spa technician who has achieved this unit is expected to organise and complete assigned tasks under routine procedures, with responsibility for the quality of their own work and limited need for supervision. They apply known solutions to predictable problems and escalate issues outside scope.

Technicians perform tasks permitted under relevant state or territory legislation and are required to coordinate with or defer to licensed gas, electrical and plumbing trades for restricted work.

# Licensing/Regulatory Information

Technicians perform tasks permitted under relevant state or territory legislation and are required to coordinate with or defer to licensed gas, electrical and plumbing trades for restricted work.

# Pre-requisite unit(s)

Nil

# Competency field(s)

N/A

# Unit sector(s)

Swimming pool and spa servicing

# Elements and Performance Criteria

| Elements describe the essential outcomes. | Performance criteria describes the performance needed to demonstrate achievement of the element. Required knowledge, skills and application should be considered and clearly articulated. |
| --- | --- |
| 1. Prepare for installation or maintenance work on cleaning and vacuuming system | 1.1 Confirm the type, scope and objectives of the installation or maintenance task, and required performance outcomes including coverage area, suction and flow rates in accordance with Australian standards, applicable legislation and/or manufacturer instructions. 1.2 Inspect pool and/or equipment pad, identifying suction and return outlets, hose routes, and potential obstructions or hazards that may be affecting performance in accordance with Work Health and Safety (WHS) requirements, and worksite and/or manufacturer instructions. 1.3 Select and check tools, equipment, and components for compatibility and serviceability in accordance with worksite and/or manufacturer instructions. 1.4 Plan the sequence of work for installation, and verification of cleaning system performance in accordance with worksite and/or manufacturer instructions. 1.5 Coordinate required activities with other personnel, including licensed trades in accordance with WHS requirements and worksite and/or manufacturer instructions. |
| 2. Work safely and sustainably | 2.1 Apply relevant procedures when operating, installing, commissioning and maintaining pool and spa systems in accordance with WHS requirements and worksite and/or manufacturer instructions. 2.2 Use Personal Protective Equipment (PPE) appropriate to the task in accordance with WHS requirements and worksite and/or manufacturer instructions. 2.3 Follow environmental procedures for the safe handling of chemicals, filter media and wastewater in accordance with relevant legislative requirements and worksite and/or manufacturer instructions. 2.4 Minimise environmental impact during work activities in accordance with WHS requirements and worksite and/or manufacturer instructions. |
| 3. Carry out routine maintenance and installation of swimming pool and spa cleaning and vacuuming systems | 3.1 Inspect and test systems for correct operation and signs of wear, leaks, or blockages. 3.2 Perform routine maintenance, including cleaning strainers, filters and hoses, and checking suction and pressure. 3.3 Carry out routine maintenance and repairs, including replacement of worn or defective components, within scope of own authority, according to manufacturer specifications and worksite instructions. 3.4 Carry out installation tasks within scope of own authority including like-for-like component changeovers, according to manufacturer specifications and worksite instructions. 3.5 Identify faults requiring licensed trades or manufacturer service and report according to worksite instructions. 3.6 Verify that system meets safety and performance requirements, in accordance with applicable Australian standards, WHS requirements and worksite and/or manufacturer instructions. |
| 4. Finalise work and hand over cleaning and vacuuming system | 4.1 Reinstate the work area and dispose of waste and contaminated materials in accordance with environmental and WHS requirements. 4.2 Ensure systems are returned to safe operational condition and notify relevant personnel of completion in accordance with worksite instructions. 4.3 Ensure all chemical containers are safely secured, labelled, and stored in accordance with legislative requirements, WHS requirements and worksite and/or manufacturer instructions. 4.4 Provide client or responsible person with instructions for safe operation and routine maintenance in accordance with WHS requirements and worksite and/or manufacturer instructions. 4.5 Record installation and maintenance work activities in the digital or manual field service documentation system in accordance with WHS requirements and worksite and/or manufacturer instructions. |

# Foundation skills

This section describes the language, literacy, numeracy and employment skills essential to performance in this unit but not explicit in the performance criteria:

- reading skills to:

  - interpret task documentation

  - understand written instructions, procedures and signs

  - access information in safety data sheets (SDSs)

  - interpret manufacturers’ instructions and workplace requirements

- writing skills to report faults and record work completion information

- numeracy skills to interpret numerical information relating to routine swimming pool cleaning and vacuuming systems maintenance

- oral communication skills to:

  - use questioning to identify and confirm requirements

  - provide client with information

  - report work site hazards.

# Range of conditions

N/A

Assessment Requirements for CPPSPS3016 Maintain swimming pool and spa cleaning and vacuuming systems

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by installing, commissioning, and maintaining cleaning and vacuuming systems for at least two of the following:

- swimming pools

- spas

- aquatic environments

And two of the following:

- suction cleaner

- pressure cleaner

- robotic or automated cleaning system

While completing the above work, the candidate must also:

- interpret and follow work instructions, specifications and manufacturer documentation

- identify and comply with relevant WHS, environmental and regulatory requirements, including those defining the scope of own work

- inspect pool and equipment pad, suction and return outlets, hose, cord, pipework (where fitted), fittings, obstructions and hazards prior to starting work

- plan and sequence installation, maintenance and commissioning activities, and confirm access, equipment and component requirements

- perform routine maintenance and servicing tasks within scope of role, including cleaning strainers and filters, inspecting hoses and fittings, and replacing worn or damaged parts

- commission cleaning and vacuuming systems to verify safe and effective operation, including compliance with applicable standards and manufacturer requirements

- verify the operation of safety devices and controls required

- identify and report faults that require specialist or licensed trade repair

- minimise environmental impact during work activities

- dispose of waste, removed components and collected debris

- complete records

- provide the client or responsible person with required documentation.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

- WHS and environmental legislation applicable to swimming pool and spa systems

- restrictions on electrical and plumbing work for unlicensed personnel and coordination requirements with licensed trades

- pre-work inspection requirements for cleaning and vacuuming systems, including inspection of pool or equipment pads, suction or return outlets, hoses, cords, pipework (where fitted), fittings, obstructions and hazards

- environmental management principles, including waste disposal, chemical handling and water discharge requirements

- principles of cleaning and vacuuming systems, including:

  - purpose and operation of suction, pressure, in-floor and robotic systems

  - relationship between hydraulic flow, suction, pressure and system coverage

  - factors influencing cleaning performance including head loss, hose length, cord length, filter condition

  - energy efficiency and hydraulic design considerations

  - typical system components, including pumps, valves, suction and return outlets, jets, actuators and controllers

- principles and steps for commissioning cleaning and vacuuming systems to verify safe and effective operation, including:

  - reading and interpreting manufacturer diagrams to obtain information consistent with the role and scope of responsibility

  - positioning and securing system components to maintain correct flow and clearances

  - leak and pressure-testing methods within authority of own work

  - commissioning and flow verification procedures

  - documentation and handover requirements

- maintenance and servicing of cleaning and vacuuming systems, including:

  - inspection and testing procedures for performance and safety

  - cleaning and maintenance requirements for filters, strainers, hoses and cords

  - replacement of common wear items, including seals, O-rings, nozzles, hoses and actuators

  - signs of leaks or blockage and appropriate responses

  - maintenance schedules for different system types

- safety and environmental protection, including:

  - hazards related to suction entrapment, electrical exposure and workspace

  - electrical splash zone standards

  - safe work practices for isolation

  - PPE selection and use appropriate to the task

  - environmental controls for discharge water and debris

# Assessment Conditions

Assessment must include access to:

- manufacturer specifications and diagrams

- appropriate tools, equipment and components for installation and servicing

- relevant Australian Standards and regulatory documentation

- digital or manual field service documentation system and procedures used for installation, commissioning, and maintenance records.

# Mandatory Workplace Requirements

Assessment of performance evidence may be in a workplace setting or an environment that accurately represents a real workplace.

# Unit Mapping Information

| Previous Code and Title | Equivalence | Comments |
| --- | --- | --- |
| CPPSPS3006 Maintain swimming pool and spa cleaning and vacuuming systems | Not equivalent | Changes have been made towards the application, elements, performance criteria, performance evidence and assessment conditions. |

# Links

Companion volumes, including implementation guides, are found on the national training register - https://training.gov.au/training/details/CPP.

CPP Property Services Training Package:  https://training.gov.au/training/details/CPP/summary