## Scorecard
AUGMINO MEDICAL DEVICE COMPONENT SUPPLIER QUALIFICATION SCORECARD
Run the same checks against 2-3 candidate suppliers and compare side by side, instead of taking one supplier's certificate at face value. Match the depth of qualification to the component's criticality, not every check on this sheet needs the same weight for a low-risk bracket as for a patient-contact part. Full guide: augmino.com/blog/medical-device-component-sourcing-india-iso-13485-cdsco
Check | What a strong answer looks like | Supplier A - Got back | Supplier A - Verdict | Supplier A - Follow-up Required? | Supplier B - Got back | Supplier B - Verdict | Supplier B - Follow-up Required? | Supplier C - Got back | Supplier C - Verdict | Supplier C - Follow-up Required?
ISO 13485 certificate: site, scope, validity, body | Certificate covers the exact factory making your parts, the exact process/product scope you need, is currently valid, and the certifying body's accreditation checks out independently.
Component's regulatory role confirmed | Supplier states plainly whether what they make is an ordinary component, or something that could itself be treated as a finished device or accessory under FDA/CDSCO, not left for you to assume.
Target market and applicable framework identified | Supplier confirms which market the finished device targets and can name whether QMSR, CDSCO, both or neither applies to their role, not a blank stare at the question.
Material traceability and process control | Material certs trace to heat/lot number, tie to the specific finished batch, and the supplier can show the process (cleaning, coating, heat treatment) that produced your parts is controlled and repeatable.
ISO 10993 / biocompatibility responsibility in writing | Written answer on who commissions biocompatibility testing, which edition and endpoints the submission needs, and what the supplier controls (material, cleaning, no unapproved process change).
Change notification commitment | Written commitment to notify you before changing material source, process, subcontractor, coating or inspection method, not just a verbal assurance.
Quality agreement in place (medium/high criticality) | A signed quality agreement exists or is offered, covering acceptance criteria, change notification, CAPA, audit rights and record retention, not just a purchase order.
Strong count