## COVER PAGE
The Sample NJ Avoided Costs values are provided for illustrative purposes in order for stakeholders to evaluate the methods prescribed in the Statewide Evaluator’s (“SWE”) Summary of New Jersey Cost Test Committee Recommendations for Updates to NJCT for the Second Triennium (“SWE Recommendations”). The values contained herein are not representative of any individual utility and instead largely focus on the state as a whole. Avoided costs used in planning and contained in utility filings will be tailored to the circumstances of their specific jurisdictions, pursuant to the recommendation of the SWE recommendations and cost-effectiveness best practices. The values contained in the Sample NJ Avoided Costs are also based upon data from early 2023, and actual utility filings will be based upon the best available information at the time.
The Sample NJ Avoided Costs document contains forecasts on a monthly, calendar year, energy year, and general basis. By category, they include:
Monthly
· Electric Energy On- and Off-Peak ($/MWh)
· Natural Gas ($/Dth)
Calendar Year
· Electric Ancillary Services ($/MWh)
· Electric Energy DRIPE ($/MWh/MWh)
· Natural Gas DRIPE ($/Dth/Dth)
· Electric CO2 Emissions Damages ($/ton)
· Electric SO2 Emissions Damages ($/ton)
· Electric NOx Emissions Damages ($/ton)
· Electric PM2.5 Emissions Damages ($/ton)
· Electric CO2 Emissions Rates (ton/MWh)
· Electric SO2 Emissions Rates (ton/MWh)
· Electric NOx Emissions Rates (ton/MWh)
· Electric PM2.5 Emissions Rates (ton/MWh)
· Natural Gas CO2 Emissions Damages ($/ton)
· Natural Gas NOx Emissions Damages ($/ton)
· Natural Gas CO2 Emissions Rates (ton/Dth)
· Natural Gas NOx Emissions Rates (ton/Dth)
· Fuel Oil ($/gallon)
· Propane ($/gallon)
· GDP Deflator (#)
Energy Year
· Electric Capacity Price ($/MW-day/MW)
· Electric Capacity DRIPE ($/MW-day/MW)
· RPS Avoided Costs ($/MWh)
General
· PSE&G Marginal Electric Line Losses (%)
· PSE&G Natural Gas Losses (%)
· Non-Energy Benefits/ Impacts (%)
· Low-Income NEB/NEIs (%)
· Volatility Hedge Benefits (%)
There are also several values that are not quantified in the Sample NJ Avoided Costs calculations that will be included in program filings before the Board. These include Electric T&D, Natural Gas T&D, and Economic Development Benefits. Values for these categories will be included in program filings and subject to review by parties to each proceeding.

## Sample Avoided Costs
Monthly |  |  |  |  | Calendar Year | [18 empty] | Energy Year
|  | NJ Hub Electric Energy |  | HH+TZ6NY |  | PJM | NJ Hub | HH+TZ6NY | Electric Emissions Damages |  |  |  | Electric Emissions Rates |  |  |  | Gas Emissions Damages |  | Gas Emissions Rates |  | NJ | NJ | EIA |  | EMAAC | EMAAC | PJM |  | PSE&G | PSE&G | NJ | NJ | NJ
Month | Year | On-Pk Electric Energy | Off-Pk Electric Energy | Natural Gas | Year | Electric Ancillary Services | Electric Energy DRIPE | Natural Gas DRIPE | CO2 | SO2 | NOx | PM2.5 | CO2 | SO2 | NOx | PM2.5 | CO2 | NOx | CO2 | NOx | Fuel Oil | Propane | GDP Deflator | Year | Electric Capacity Price | Electric Capacity DRIPE | RPS Avoided Cost | Service | Marginal Electric Line Losses | Gas Losses | Non-Energy Benefits/ Impacts | Low Income NEB/NEI | Volatility Hedge
|  | $/MWh | $/MWh | $/Dth |  | $/MWh | $/MWh/MWh | $/Dth/Dth | $/ton | $/ton | $/ton | $/ton | ton/MWh | ton/MWh | ton/MWh | ton/MWh | $/ton | $/ton | ton/Dth | ton/Dth | $/gallon | $/gallon | # |  | $/MW-day | $/MW-day/MW | $/MWh |  | % | % | % | % | %
2024-01-01 | 2024 | 110.4812 | 100.9019 | 10.813 | 2022 | 1.1167 | 2.809e-06 | 1.214e-06 | 51.2917 | 87028.4901 | 11716.3488 | 170215.0592 | 0.5544 | 0.00026028 | 0.00027331 | 1.3888e-05 | 51.2917 | 23252.3339 | 0.0585 | 4.6e-05 | 4.9288 | 3.568 | 1.0241 | 2023 | 97.86 | 0.1194 | 16.1566 | Secondary | 8.749% | 2% | 23% | 36% | 10%
2024-02-01 | 2024 | 91.6986 | 85.3883 | 10.116 | 2023 | 1.1167 | 2.809e-06 | 1.214e-06 | 53.3675 | 90811.1757 | 12209.8594 | 178335.9674 | 0.52628 | 0.00025181 | 0.00027131 | 1.3436e-05 | 53.3675 | 24228.0708 | 0.0585 | 4.6e-05 | 4.197 | 3.4811 | 1.0423 | 2024 | 49.49 | 0.1194 | 15.9346 | Primary | 4.973%
2024-03-01 | 2024 | 50.3953 | 41.482 | 3.925 | 2024 | 1.1167 | 2.809e-06 | 1.214e-06 | 55.5057 | 94710.3574 | 12718.4238 | 186713.6259 | 0.50943 | 0.00024908 | 0.00023501 | 1.329e-05 | 55.5057 | 25233.5362 | 0.0585 | 4.6e-05 | 4.4369 | 3.5598 | 1.0659 | 2025 | 54.95 | 0.1194 | 16.3869 | Sub-Trans | 3.071%
2024-04-01 | 2024 | 44.2294 | 34.5798 | 2.5565 | 2025 | 1.096 | 2.809e-06 | 1.214e-06 | 57.7082 | 98810.9818 | 13275.5863 | 196823.2606 | 0.48834 | 0.00022621 | 0.00022712 | 1.207e-05 | 57.7082 | 26699.5032 | 0.0585 | 4.6e-05 | 4.5198 | 3.6271 | 1.0913 | 2026 | 73.5873 | 0.1194 | 11.9238 | High Voltage | 1.291%
2024-05-01 | 2024 | 39.5483 | 31.5034 | 2.362 | 2026 | 1.0873 | 2.809e-06 | 1.214e-06 | 59.9765 | 102893.7238 | 13797.1394 | 205182.2589 | 0.45592 | 0.00019477 | 0.0002025 | 1.0392e-05 | 59.9765 | 27605.9171 | 0.0585 | 4.6e-05 | 4.6097 | 3.7336 | 1.118 | 2027 | 75.3922 | 0.1194 | 10.5443
2024-06-01 | 2024 | 43.3952 | 31.9943 | 2.497 | 2027 | 1.1158 | 2.809e-06 | 1.214e-06 | 62.3136 | 107100.2511 | 14334.2444 | 213796.8878 | 0.45295 | 0.00019385 | 0.00021571 | 1.0343e-05 | 62.3136 | 28537.9077 | 0.0585 | 4.6e-05 | 4.724 | 3.8905 | 1.1464 | 2028 | 77.3041 | 0.1194 | 8.5902
2024-07-01 | 2024 | 62.8016 | 41.4262 | 2.692 | 2028 | 1.1441 | 2.809e-06 | 1.214e-06 | 64.719 | 111433.8819 | 14887.3148 | 222674.029 | 0.44777 | 0.00020961 | 0.0002146 | 1.1184e-05 | 64.719 | 29496.1356 | 0.0585 | 4.6e-05 | 4.8822 | 4.0885 | 1.1752 | 2029 | 79.2473 | 0.1194 | 6.0723
2024-08-01 | 2024 | 59.5982 | 38.5552 | 2.714 | 2029 | 1.174 | 2.809e-06 | 1.214e-06 | 67.1958 | 115898.0179 | 15456.7742 | 231820.7371 | 0.41403 | 0.00018583 | 0.00021265 | 9.9152e-06 | 67.1958 | 30481.2775 | 0.0585 | 4.6e-05 | 5.0276 | 4.2712 | 1.2038 | 2030 | 81.176 | 0.1194 | 4.091
2024-09-01 | 2024 | 39.2296 | 28.2968 | 2.184 | 2030 | 1.1807 | 2.809e-06 | 1.214e-06 | 69.7457 | 120496.1458 | 16043.0572 | 241244.2438 | 0.39936 | 0.00018939 | 0.00019837 | 1.0105e-05 | 69.7457 | 31494.0266 | 0.0585 | 4.6e-05 | 5.1355 | 4.4591 | 1.2318 | 2031 | 83.0667 | 0.1194 | 3.3199
2024-10-01 | 2024 | 36.9778 | 28.9962 | 2.1755 | 2031 | 1.1929 | 2.809e-06 | 1.214e-06 | 72.4583 | 125424.5831 | 16698.0069 | 251979.9276 | 0.39142 | 0.0001931 | 0.00019835 | 1.0303e-05 | 72.4583 | 32830.6331 | 0.0585 | 4.6e-05 | 5.3776 | 4.6811 | 1.2602 | 2032 | 84.9826 | 0.1194 | 3.1198
2024-11-01 | 2024 | 40.5731 | 30.9864 | 4.205 | 2032 | 1.2182 | 2.809e-06 | 1.214e-06 | 75.2515 | 130501.9593 | 17372.7375 | 263048.5411 | 0.39338 | 0.00018399 | 0.00020382 | 9.8174e-06 | 75.2515 | 34208.1062 | 0.0585 | 4.6e-05 | 5.5187 | 4.8575 | 1.2882 | 2033 | 86.8707 | 0.1194 | 3.0464
2024-12-01 | 2024 | 62.7121 | 54.4462 | 7.0145 | 2033 | 1.2641 | 2.809e-06 | 1.214e-06 | 78.1274 | 135732.2608 | 18067.778 | 274459.1071 | 0.39389 | 0.00018484 | 0.00020751 | 9.8626e-06 | 78.1274 | 35627.546 | 0.0585 | 4.6e-05 | 5.6685 | 5.0409 | 1.3168 | 2034 | 88.7935 | 0.1194 | 2.2272
2025-01-01 | 2025 | 105.9058 | 95.8543 | 9.2585 | 2034 | 1.4108 | 2.809e-06 | 1.214e-06 | 81.0883 | 141119.5736 | 18783.6711 | 286220.8763 | 0.39797 | 0.00017668 | 0.00020995 | 9.4273e-06 | 81.0883 | 37090.0802 | 0.0585 | 4.6e-05 | 5.8036 | 5.2041 | 1.3462 | 2035 | 90.7761 | 0.1194 | 1.927
2025-02-01 | 2025 | 87.8948 | 81.9335 | 8.9585 | 2035 | 1.3296 | 2.809e-06 | 1.214e-06 | 84.1364 | 146668.0859 | 19520.9728 | 298343.3327 | 0.37971 | 0.00018434 | 0.00019725 | 9.8361e-06 | 84.1364 | 38596.8647 | 0.0585 | 4.6e-05 | 5.9556 | 5.356 | 1.376 | 2036 | 92.7863 | 0.1194 | 1.9735
2025-03-01 | 2025 | 49.8359 | 39.8171 | 6.2885 | 2036 | 1.4224 | 2.809e-06 | 1.214e-06 | 87.2739 | 152084.1649 | 20213.5745 | 310410.5903 | 0.37522 | 0.0001839 | 0.00020244 | 9.8126e-06 | 87.2739 | 40035.5889 | 0.0585 | 4.6e-05 | 6.1305 | 5.5144 | 1.4064 | 2037 | 94.8363 | 0.1194 | 2.1224
2025-04-01 | 2025 | 43.7391 | 34.4589 | 2.8385 | 2037 | 1.4521 | 2.809e-06 | 1.214e-06 | 90.5033 | 157658.2198 | 20926.0717 | 322841.2009 | 0.37259 | 0.00018674 | 0.00020263 | 9.964e-06 | 90.5033 | 41516.4234 | 0.0585 | 4.6e-05 | 6.3238 | 5.6838 | 1.4375 | 2038 | 96.9361 | 0.1194 | 2.2689
2025-05-01 | 2025 | 39.1067 | 31.343 | 2.6205 | 2038 | 1.363 | 2.809e-06 | 1.214e-06 | 93.827 | 163394.4032 | 21658.9835 | 335644.8716 | 0.3733 | 0.00018339 | 0.00019451 | 9.785e-06 | 93.827 | 43040.4769 | 0.0585 | 4.6e-05 | 6.4996 | 5.8565 | 1.4695 | 2039 | 99.0955 | 0.1194 | 2.7277
2025-06-01 | 2025 | 42.9135 | 31.7593 | 2.736 | 2039 | 1.5274 | 2.809e-06 | 1.214e-06 | 97.2474 | 169296.9707 | 22412.8413 | 348831.5527 | 0.37569 | 0.000189 | 0.00019793 | 1.0085e-05 | 97.2474 | 44608.8861 | 0.0585 | 4.6e-05 | 6.6634 | 6.0146 | 1.502 | 2040 | 101.2876 | 0.1194 | 2.798
2025-07-01 | 2025 | 62.6546 | 40.7558 | 2.9195 | 2040 | 1.5727 | 2.809e-06 | 1.214e-06 | 100.7671 | 175370.2831 | 23188.1898 | 362411.4431 | 0.36838 | 0.00017727 | 0.0001902 | 9.4587e-06 | 100.7671 | 46222.8154 | 0.0585 | 4.6e-05 | 6.8708 | 6.2194 | 1.5361 | 2041 | 103.5853 | 0.1194 | 2.8473
2025-08-01 | 2025 | 59.4597 | 37.7411 | 2.9535 | 2041 | 1.4658 | 2.809e-06 | 1.214e-06 | 104.3914 | 182200.3183 | 24101.8889 | 375964.249 | 0.37242 | 0.00017838 | 0.0001891 | 9.5176e-06 | 104.3914 | 47732.6967 | 0.0585 | 4.6e-05 | 7.0578 | 6.4119 | 1.571 | 2042 | 105.9347 | 0.1194 | 2.6267
2025-09-01 | 2025 | 38.795 | 28.5539 | 2.4395 | 2042 | 1.6296 | 2.809e-06 | 1.214e-06 | 108.1205 | 188819.3018 | 24961.5082 | 390354.7398 | 0.37566 | 0.00018108 | 0.00019537 | 9.6621e-06 | 108.1205 | 49431.3299 | 0.0585 | 4.6e-05 | 7.2224 | 6.5746 | 1.6068 | 2043 | 108.3501 | 0.1194 | 2.6909
2025-10-01 | 2025 | 36.5677 | 29.7028 | 2.435 | 2043 | 1.667 | 2.809e-06 | 1.214e-06 | 111.957 | 195630.1646 | 25845.8715 | 405170.4645 | 0.37533 | 0.00017438 | 0.00019574 | 9.3044e-06 | 111.957 | 51178.8153 | 0.0585 | 4.6e-05 | 7.4659 | 6.7716 | 1.6436 | 2044 | 110.8333 | 0.1194 | 2.6931
2025-11-01 | 2025 | 40.1223 | 30.8562 | 4.9065 | 2044 | 1.5387 | 2.809e-06 | 1.214e-06 | 115.9036 | 202637.9342 | 26755.6248 | 420422.6763 | 0.37944 | 0.00017861 | 0.00019042 | 9.5301e-06 | 115.9036 | 52976.4277 | 0.0585 | 4.6e-05 | 7.7223 | 6.9852 | 1.6811 | 2045 | 113.3639 | 0.1194 | 1.6237
2025-12-01 | 2025 | 62.0186 | 52.4054 | 6.636 | 2045 | 1.6997 | 2.809e-06 | 1.214e-06 | 119.9619 | 209847.7624 | 27691.4298 | 436122.9083 | 0.37999 | 0.00017577 | 0.00019383 | 9.3784e-06 | 119.9619 | 54825.4729 | 0.0585 | 4.6e-05 | 7.9314 | 7.1637 | 1.7193 | 2046 | 115.9392 | 0.1194 | 1.2941
2026-01-01 | 2026 | 106.9073 | 93.1724 | 8.9724 | 2046 | 1.7374 | 2.809e-06 | 1.214e-06 | 124.1376 | 217264.9287 | 28653.9647 | 452282.9806 | 0.37807 | 0.00017118 | 0.00019151 | 9.1338e-06 | 124.1376 | 56727.2895 | 0.0585 | 4.6e-05 | 8.1715 | 7.3588 | 1.7586 | 2047 | 118.5888 | 0.1194 | 1.4329
2026-02-01 | 2026 | 88.7277 | 79.645 | 8.7091 | 2047 | 1.6055 | 2.809e-06 | 1.214e-06 | 128.4324 | 224894.8424 | 29643.9245 | 468915.0066 | 0.377 | 0.00017225 | 0.00018558 | 9.1907e-06 | 128.4324 | 58683.2485 | 0.0585 | 4.6e-05 | 8.3738 | 7.5501 | 1.7987 | 2048 | 121.2906 | 0.1194 | 1.5825
2026-03-01 | 2026 | 49.175 | 40.8693 | 6.0015 | 2048 | 1.7878 | 2.809e-06 | 1.214e-06 | 132.8494 | 232743.0468 | 30662.0211 | 486031.4005 | 0.37819 | 0.00017003 | 0.00019157 | 9.0722e-06 | 132.8494 | 60694.7549 | 0.0585 | 4.6e-05 | 8.5473 | 7.736 | 1.8398 | 2049 | 124.0617 | 0.1194 | 1.7662
2026-04-01 | 2026 | 43.1578 | 34.9006 | 2.8931 | 2049 | 1.8416 | 2.809e-06 | 1.214e-06 | 137.39 | 240815.2214 | 31708.984 | 503644.8841 | 0.37734 | 0.00017215 | 0.0001931 | 9.1852e-06 | 137.39 | 62763.2483 | 0.0585 | 4.6e-05 | 8.7346 | 7.9091 | 1.882 | 2050 | 126.907 | 0.1194 | 1.9552
2026-05-01 | 2026 | 38.5875 | 31.3575 | 2.6565 | 2050 | 1.684 | 2.809e-06 | 1.214e-06 | 142.0607 | 249117.1857 | 32785.5606 | 521768.4945 | 0.36837 | 0.00016195 | 0.00018257 | 8.6414e-06 | 142.0607 | 64890.2035 | 0.0585 | 4.6e-05 | 8.9076 | 8.08 | 1.9251 | 2051 | 129.8127 | 0.1194 | 2
2026-06-01 | 2026 | 42.3441 | 31.9352 | 2.7708 | 2051 | 1.7102 | 2.809e-06 | 1.214e-06 | 146.8903 | 257654.9025 | 33892.5167 | 540415.5914 | 0.35962 | 0.00015236 | 0.00017262 | 8.1297e-06 | 146.8903 | 67077.1317 | 0.0585 | 4.6e-05 | 9.0839 | 8.2547 | 1.9691 | 2052 | 132.7805 | 0.1194 | 2.0457
2026-07-01 | 2026 | 61.4081 | 40.0894 | 2.944 | 2052 | 1.7367 | 2.809e-06 | 1.214e-06 | 151.884 | 266434.4812 | 35030.6368 | 559599.8647 | 0.35107 | 0.00014334 | 0.0001632 | 7.6483e-06 | 151.884 | 69325.5809 | 0.0585 | 4.6e-05 | 9.2638 | 8.4331 | 2.0141 | 2053 | 135.8163 | 0.1194 | 2.0925
2026-08-01 | 2026 | 58.2769 | 37.2569 | 2.9714 | 2053 | 1.7637 | 2.809e-06 | 1.214e-06 | 157.0475 | 275462.181 | 36200.7247 | 579335.3428 | 0.34273 | 0.00013486 | 0.0001543 | 7.1955e-06 | 157.0475 | 71637.1372 | 0.0585 | 4.6e-05 | 9.4472 | 8.6153 | 2.0601 | 2054 | 138.9214 | 0.1194 | 2.1403
2026-09-01 | 2026 | 38.279 | 29.091 | 2.4519 | 2054 | 1.7911 | 2.809e-06 | 1.214e-06 | 162.3866 | 284744.415 | 37403.6038 | 599636.4 | 0.33458 | 0.00012687 | 0.00014589 | 6.7694e-06 | 162.3866 | 74013.4255 | 0.0585 | 4.6e-05 | 9.6343 | 8.8015 | 2.1072 | 2055 | 142.0975 | 0.1194 | 2.1893
2026-10-01 | 2026 | 36.0809 | 29.6755 | 2.4473 | 2055 | 1.819 | 2.809e-06 | 1.214e-06 | 167.9071 | 294287.7535 | 38640.1178 | 620517.7654 | 0.32663 | 0.00011936 | 0.00013793 | 6.3686e-06 | 167.9071 | 76456.1105 | 0.0585 | 4.6e-05 | 9.8251 | 8.9917 | 2.1554 | 2056 | 145.3462 | 0.1194 | 2.2393
2026-11-01 | 2026 | 39.5897 | 31.0818 | 4.9598 | 2056 | 1.8472 | 2.809e-06 | 1.214e-06 | 173.6153 | 304098.9278 | 39911.131 | 641994.5308 | 0.31887 | 0.00011229 | 0.00013041 | 5.9915e-06 | 173.6153 | 78966.8975 | 0.0585 | 4.6e-05 | 10.0196 | 9.1861 | 2.2047 | 2057 | 148.6693 | 0.1194 | 2.2905
2026-12-01 | 2026 | 61.1931 | 50.5259 | 6.4917 | 2057 | 1.8759 | 2.809e-06 | 1.214e-06 | 179.5176 | 314184.834 | 41217.5286 | 664082.1597 | 0.31129 | 0.00010564 | 0.0001233 | 5.6368e-06 | 179.5176 | 81547.5336 | 0.0585 | 4.6e-05 | 10.218 | 9.3846 | 2.2551 | 2058 | 152.0682 | 0.1194 | 2.3429
2027-01-01 | 2027 | 109.7048 | 95.6105 | 9.0289 | 2058 | 1.9051 | 2.809e-06 | 1.214e-06 | 185.6206 | 324552.5368 | 42560.2177 | 686796.496 | 0.30389 | 9.9387e-05 | 0.00011657 | 5.303e-06 | 185.6206 | 84199.8083 | 0.0585 | 4.6e-05 | 10.4203 | 9.5874 | 2.3066 | 2059 | 155.5449 | 0.1194 | 2.3965
2027-02-01 | 2027 | 91.0496 | 81.7292 | 8.7901 | 2059 | 1.9347 | 2.809e-06 | 1.214e-06 | 191.931 | 335209.2738 | 43940.1273 | 710153.7729 | 0.29667 | 9.3502e-05 | 0.00011021 | 4.989e-06 | 191.931 | 86925.5551 | 0.0585 | 4.6e-05 | 10.6266 | 9.7946 | 2.3594 | 2060 | 159.1011 | 0.1194 | 2.4513
2027-03-01 | 2027 | 50.4618 | 41.9388 | 6.0881 | 2060 | 1.9647 | 2.809e-06 | 1.214e-06 | 198.4559 | 346162.4593 | 45358.2092 | 734170.6222 | 0.28962 | 8.7966e-05 | 0.0001042 | 4.6936e-06 | 198.4559 | 89726.6517 | 0.0585 | 4.6e-05 | 10.837 | 10.0063 | 2.4133 | 2061 | 162.7386 | 0.1194 | 2.5073
2027-04-01 | 2027 | 44.2872 | 35.8139 | 3.06
2027-05-01 | 2027 | 39.5973 | 32.1781 | 2.8197
2027-06-01 | 2027 | 43.4522 | 32.7708 | 2.9405
2027-07-01 | 2027 | 63.015 | 41.1385 | 3.1125
2027-08-01 | 2027 | 59.8019 | 38.2318 | 3.1424
2027-09-01 | 2027 | 39.2807 | 29.8522 | 2.6249
2027-10-01 | 2027 | 37.0251 | 30.452 | 2.6232
2027-11-01 | 2027 | 40.6257 | 31.8952 | 4.9364
2027-12-01 | 2027 | 62.7944 | 51.848 | 6.4609
2028-01-01 | 2028 | 112.4909 | 98.0386 | 9.3339
2028-02-01 | 2028 | 93.3618 | 83.8047 | 9.0806
2028-03-01 | 2028 | 51.7433 | 43.0038 | 6.3893
2028-04-01 | 2028 | 45.4119 | 36.7234 | 3.3683
2028-05-01 | 2028 | 40.6029 | 32.9953 | 3.1292
2028-06-01 | 2028 | 44.5557 | 33.6031 | 3.2569
2028-07-01 | 2028 | 64.6153 | 42.1832 | 3.4353
2028-08-01 | 2028 | 61.3206 | 39.2027 | 3.4687
2028-09-01 | 2028 | 40.2783 | 30.6104 | 2.9613
2028-10-01 | 2028 | 37.9654 | 31.2254 | 2.968
2028-11-01 | 2028 | 41.6574 | 32.7052 | 5.2714
2028-12-01 | 2028 | 64.3891 | 53.1647 | 6.8093
2029-01-01 | 2029 | 115.4296 | 100.5998 | 9.7817
2029-02-01 | 2029 | 95.8008 | 85.9941 | 9.5143
2029-03-01 | 2029 | 53.095 | 44.1273 | 6.7248
2029-04-01 | 2029 | 46.5982 | 37.6828 | 3.592
2029-05-01 | 2029 | 41.6636 | 33.8573 | 3.3442
2029-06-01 | 2029 | 45.7196 | 34.4809 | 3.4788
2029-07-01 | 2029 | 66.3033 | 43.2852 | 3.666
2029-08-01 | 2029 | 62.9225 | 40.2269 | 3.7018
2029-09-01 | 2029 | 41.3305 | 31.41 | 3.1784
2029-10-01 | 2029 | 38.9572 | 32.0411 | 3.188
2029-11-01 | 2029 | 42.7457 | 33.5596 | 5.5752
2029-12-01 | 2029 | 66.0713 | 54.5536 | 7.1754
2030-01-01 | 2030 | 116.0879 | 101.1735 | 10.098
2030-02-01 | 2030 | 96.3472 | 86.4845 | 9.8189
2030-03-01 | 2030 | 53.3978 | 44.3789 | 6.9873
2030-04-01 | 2030 | 46.8639 | 37.8977 | 3.8046
2030-05-01 | 2030 | 41.9012 | 34.0503 | 3.5531
2030-06-01 | 2030 | 45.9804 | 34.6776 | 3.6934
2030-07-01 | 2030 | 66.6814 | 43.5321 | 3.887
2030-08-01 | 2030 | 63.2814 | 40.4563 | 3.925
2030-09-01 | 2030 | 41.5662 | 31.5892 | 3.3977
2030-10-01 | 2030 | 39.1793 | 32.2238 | 3.4116
2030-11-01 | 2030 | 42.9894 | 33.751 | 5.8347
2030-12-01 | 2030 | 66.448 | 54.8647 | 7.4686
2031-01-01 | 2031 | 117.2888 | 102.2201 | 10.4944
2031-02-01 | 2031 | 97.3439 | 87.3792 | 10.203
2031-03-01 | 2031 | 53.9502 | 44.838 | 7.2823
2031-04-01 | 2031 | 47.3488 | 38.2898 | 3.9985
2031-05-01 | 2031 | 42.3347 | 34.4026 | 3.7391
2031-06-01 | 2031 | 46.456 | 35.0363 | 3.8855
2031-07-01 | 2031 | 67.3713 | 43.9824 | 4.0868
2031-08-01 | 2031 | 63.936 | 40.8748 | 4.1269
2031-09-01 | 2031 | 41.9962 | 31.916 | 3.5849
2031-10-01 | 2031 | 39.5847 | 32.5572 | 3.6011
2031-11-01 | 2031 | 43.4342 | 34.1001 | 6.1003
2031-12-01 | 2031 | 67.1355 | 55.4323 | 7.7901
2032-01-01 | 2032 | 119.7759 | 104.3876 | 10.6904
2032-02-01 | 2032 | 99.408 | 89.232 | 10.3913
2032-03-01 | 2032 | 55.0942 | 45.7888 | 7.4514
2032-04-01 | 2032 | 48.3528 | 39.1017 | 4.144
2032-05-01 | 2032 | 43.2323 | 35.1321 | 3.883
2032-06-01 | 2032 | 47.4411 | 35.7792 | 4.0331
2032-07-01 | 2032 | 68.7999 | 44.915 | 4.2384
2032-08-01 | 2032 | 65.2918 | 41.7415 | 4.2801
2032-09-01 | 2032 | 42.8867 | 32.5927 | 3.7374
2032-10-01 | 2032 | 40.424 | 33.2475 | 3.7569
2032-11-01 | 2032 | 44.3552 | 34.8232 | 6.2724
2032-12-01 | 2032 | 68.559 | 56.6077 | 7.9805
2033-01-01 | 2033 | 124.2845 | 108.3171 | 11.1324
2033-02-01 | 2033 | 103.15 | 92.5909 | 10.8209
2033-03-01 | 2033 | 57.1681 | 47.5124 | 7.7603
2033-04-01 | 2033 | 50.1729 | 40.5736 | 4.3172
2033-05-01 | 2033 | 44.8597 | 36.4546 | 4.0455
2033-06-01 | 2033 | 49.2269 | 37.1261 | 4.2018
2033-07-01 | 2033 | 71.3897 | 46.6058 | 4.4156
2033-08-01 | 2033 | 67.7495 | 43.3128 | 4.459
2033-09-01 | 2033 | 44.5011 | 33.8196 | 3.8942
2033-10-01 | 2033 | 41.9457 | 34.4991 | 3.9145
2033-11-01 | 2033 | 46.0248 | 36.134 | 6.5332
2033-12-01 | 2033 | 71.1398 | 58.7386 | 8.3117
2034-01-01 | 2034 | 138.7133 | 120.8921 | 11.3607
2034-02-01 | 2034 | 115.1252 | 103.3403 | 11.0428
2034-03-01 | 2034 | 63.805 | 53.0283 | 7.9201
2034-04-01 | 2034 | 55.9977 | 45.2839 | 4.407
2034-05-01 | 2034 | 50.0677 | 40.6867 | 4.1298
2034-06-01 | 2034 | 54.9419 | 41.4362 | 4.2893
2034-07-01 | 2034 | 79.6776 | 52.0164 | 4.5075
2034-08-01 | 2034 | 75.6149 | 48.3412 | 4.5518
2034-09-01 | 2034 | 49.6674 | 37.7459 | 3.9756
2034-10-01 | 2034 | 46.8154 | 38.5042 | 3.9964
2034-11-01 | 2034 | 51.3681 | 40.329 | 6.6683
2034-12-01 | 2034 | 79.3987 | 65.5578 | 8.4829
2035-01-01 | 2035 | 130.7288 | 113.9334 | 11.5889
2035-02-01 | 2035 | 108.4984 | 97.3919 | 11.2644
2035-03-01 | 2035 | 60.1323 | 49.976 | 8.0831
2035-04-01 | 2035 | 52.7744 | 42.6773 | 4.504
2035-05-01 | 2035 | 47.1857 | 38.3448 | 4.2216
2035-06-01 | 2035 | 51.7794 | 39.0511 | 4.3845
2035-07-01 | 2035 | 75.0913 | 49.0223 | 4.607
2035-08-01 | 2035 | 71.2624 | 45.5586 | 4.6524
2035-09-01 | 2035 | 46.8085 | 35.5732 | 4.0657
2035-10-01 | 2035 | 44.1206 | 36.2879 | 4.0873
2035-11-01 | 2035 | 48.4112 | 38.0076 | 6.8092
2035-12-01 | 2035 | 74.8284 | 61.7842 | 8.6587
2036-01-01 | 2036 | 139.8538 | 121.8861 | 11.8236
2036-02-01 | 2036 | 116.0717 | 104.1899 | 11.4916
2036-03-01 | 2036 | 64.3296 | 53.4643 | 8.2598
2036-04-01 | 2036 | 56.4581 | 45.6563 | 4.623
2036-05-01 | 2036 | 50.4794 | 41.0213 | 4.3361
2036-06-01 | 2036 | 55.3936 | 41.7769 | 4.5027
2036-07-01 | 2036 | 80.3327 | 52.4441 | 4.7298
2036-08-01 | 2036 | 76.2366 | 48.7387 | 4.7764
2036-09-01 | 2036 | 50.0758 | 38.0562 | 4.1816
2036-10-01 | 2036 | 47.2003 | 38.8208 | 4.2047
2036-11-01 | 2036 | 51.7904 | 40.6606 | 6.9699
2036-12-01 | 2036 | 80.0515 | 66.0968 | 8.8517
2037-01-01 | 2037 | 142.7721 | 124.4294 | 12.1338
2037-02-01 | 2037 | 118.4937 | 106.364 | 11.793
2037-03-01 | 2037 | 65.672 | 54.5799 | 8.4786
2037-04-01 | 2037 | 57.6362 | 46.6089 | 4.7488
2037-05-01 | 2037 | 51.5327 | 41.8772 | 4.4547
2037-06-01 | 2037 | 56.5495 | 42.6486 | 4.6256
2037-07-01 | 2037 | 82.009 | 53.5384 | 4.8587
2037-08-01 | 2037 | 77.8274 | 49.7557 | 4.9066
2037-09-01 | 2037 | 51.1207 | 38.8503 | 4.2968
2037-10-01 | 2037 | 48.1852 | 39.6309 | 4.3208
2037-11-01 | 2037 | 52.8711 | 41.509 | 7.1565
2037-12-01 | 2037 | 81.7219 | 67.476 | 9.0868
2038-01-01 | 2038 | 134.0127 | 116.7954 | 12.383
2038-02-01 | 2038 | 111.2238 | 99.8383 | 12.0338
2038-03-01 | 2038 | 61.6428 | 51.2313 | 8.6734
2038-04-01 | 2038 | 54.1001 | 43.7494 | 4.8906
2038-05-01 | 2038 | 48.371 | 39.308 | 4.5924
2038-06-01 | 2038 | 53.0801 | 40.032 | 4.7675
2038-07-01 | 2038 | 76.9775 | 50.2537 | 5.0055
2038-08-01 | 2038 | 73.0525 | 46.703 | 5.0549
2038-09-01 | 2038 | 47.9843 | 36.4667 | 4.4385
2038-10-01 | 2038 | 45.2289 | 37.1994 | 4.4648
2038-11-01 | 2038 | 49.6273 | 38.9624 | 7.3398
2038-12-01 | 2038 | 76.7081 | 63.3362 | 9.3016
2039-01-01 | 2039 | 150.1771 | 130.883 | 12.6571
2039-02-01 | 2039 | 124.6395 | 111.8806 | 12.3
2039-03-01 | 2039 | 69.0781 | 57.4108 | 8.8662
2039-04-01 | 2039 | 60.6255 | 49.0263 | 5.0008
2039-05-01 | 2039 | 54.2055 | 44.0492 | 4.6961
2039-06-01 | 2039 | 59.4825 | 44.8606 | 4.875
2039-07-01 | 2039 | 86.2624 | 56.3153 | 5.1184
2039-08-01 | 2039 | 81.8639 | 52.3363 | 5.1689
2039-09-01 | 2039 | 53.7721 | 40.8653 | 4.5391
2039-10-01 | 2039 | 50.6844 | 41.6864 | 4.566
2039-11-01 | 2039 | 55.6133 | 43.6619 | 7.5038
2039-12-01 | 2039 | 85.9605 | 70.9757 | 9.5086
2040-01-01 | 2040 | 154.6334 | 134.7668 | 12.8582
2040-02-01 | 2040 | 128.338 | 115.2005 | 12.492
2040-03-01 | 2040 | 71.1279 | 59.1144 | 9.0587
2040-04-01 | 2040 | 62.4245 | 50.4811 | 5.1909
2040-05-01 | 2040 | 55.8139 | 45.3563 | 4.8863
2040-06-01 | 2040 | 61.2476 | 46.1918 | 5.0696
2040-07-01 | 2040 | 88.8222 | 57.9863 | 5.3172
2040-08-01 | 2040 | 84.2932 | 53.8893 | 5.3698
2040-09-01 | 2040 | 55.3677 | 42.0779 | 4.7449
2040-10-01 | 2040 | 52.1883 | 42.9233 | 4.7768
2040-11-01 | 2040 | 57.2635 | 44.9576 | 7.7139
2040-12-01 | 2040 | 88.5113 | 73.0819 | 9.73
2041-01-01 | 2041 | 144.1228 | 125.6066 | 12.8969
2041-02-01 | 2041 | 119.6148 | 107.3703 | 12.5251
2041-03-01 | 2041 | 66.2933 | 55.0963 | 9.1542
2041-04-01 | 2041 | 58.1815 | 47.0499 | 5.3528
2041-05-01 | 2041 | 52.0202 | 42.2734 | 5.054
2041-06-01 | 2041 | 57.0845 | 43.0521 | 5.2398
2041-07-01 | 2041 | 82.7849 | 54.045 | 5.4885
2041-08-01 | 2041 | 78.5637 | 50.2264 | 5.5431
2041-09-01 | 2041 | 51.6044 | 39.2179 | 4.936
2041-10-01 | 2041 | 48.6411 | 40.0058 | 4.9741
2041-11-01 | 2041 | 53.3713 | 41.9018 | 7.8572
2041-12-01 | 2041 | 82.4951 | 68.1144 | 9.8522
2042-01-01 | 2042 | 160.227 | 139.6418 | 13.072
2042-02-01 | 2042 | 132.9804 | 119.3677 | 12.6945
2042-03-01 | 2042 | 73.7008 | 61.2527 | 9.2883
2042-04-01 | 2042 | 64.6826 | 52.3072 | 5.4464
2042-05-01 | 2042 | 57.8329 | 46.997 | 5.1444
2042-06-01 | 2042 | 63.4631 | 47.8627 | 5.3331
2042-07-01 | 2042 | 92.0352 | 60.0839 | 5.5853
2042-08-01 | 2042 | 87.3423 | 55.8386 | 5.6408
2042-09-01 | 2042 | 57.3706 | 43.6 | 5.0283
2042-10-01 | 2042 | 54.0762 | 44.476 | 5.0677
2042-11-01 | 2042 | 59.3349 | 46.5838 | 7.9811
2042-12-01 | 2042 | 91.713 | 75.7255 | 9.9992
2043-01-01 | 2043 | 163.9047 | 142.847 | 13.2624
2043-02-01 | 2043 | 136.0327 | 122.1076 | 12.8773
2043-03-01 | 2043 | 75.3925 | 62.6587 | 9.4547
2043-04-01 | 2043 | 66.1673 | 53.5078 | 5.5924
2043-05-01 | 2043 | 59.1604 | 48.0758 | 5.289
2043-06-01 | 2043 | 64.9198 | 48.9613 | 5.4813
2043-07-01 | 2043 | 94.1477 | 61.463 | 5.7374
2043-08-01 | 2043 | 89.3471 | 57.1203 | 5.7946
2043-09-01 | 2043 | 58.6874 | 44.6008 | 5.1821
2043-10-01 | 2043 | 55.3174 | 45.4969 | 5.2248
2043-11-01 | 2043 | 60.6969 | 47.6531 | 8.152
2043-12-01 | 2043 | 93.8181 | 77.4636 | 10.1872
2044-01-01 | 2044 | 151.2864 | 131.8498 | 13.3697
2044-02-01 | 2044 | 125.5602 | 112.707 | 12.982
2044-03-01 | 2044 | 69.5883 | 57.8349 | 9.5229
2044-04-01 | 2044 | 61.0734 | 49.3885 | 5.6199
2044-05-01 | 2044 | 54.6058 | 44.3746 | 5.3133
2044-06-01 | 2044 | 59.9219 | 45.192 | 5.5069
2044-07-01 | 2044 | 86.8996 | 56.7312 | 5.765
2044-08-01 | 2044 | 82.4686 | 52.7229 | 5.8224
2044-09-01 | 2044 | 54.1693 | 41.1672 | 5.2026
2044-10-01 | 2044 | 51.0587 | 41.9943 | 5.245
2044-11-01 | 2044 | 56.0241 | 43.9845 | 8.2034
2044-12-01 | 2044 | 86.5954 | 71.5 | 10.2583
2045-01-01 | 2045 | 167.1171 | 145.6467 | 13.633
2045-02-01 | 2045 | 138.6989 | 124.5008 | 13.239
2045-03-01 | 2045 | 76.8701 | 63.8867 | 9.6913
2045-04-01 | 2045 | 67.4641 | 54.5565 | 5.6896
2045-05-01 | 2045 | 60.3198 | 49.018 | 5.3751
2045-06-01 | 2045 | 66.1921 | 49.9209 | 5.572
2045-07-01 | 2045 | 95.9929 | 62.6676 | 5.835
2045-08-01 | 2045 | 91.0982 | 58.2398 | 5.8931
2045-09-01 | 2045 | 59.8376 | 45.4749 | 5.2556
2045-10-01 | 2045 | 56.4016 | 46.3886 | 5.2971
2045-11-01 | 2045 | 61.8865 | 48.587 | 8.3314
2045-12-01 | 2045 | 95.6569 | 78.9818 | 10.4344
2046-01-01 | 2046 | 170.8283 | 148.8811 | 13.9138
2046-02-01 | 2046 | 141.779 | 127.2656 | 13.5119
2046-03-01 | 2046 | 78.5772 | 65.3055 | 9.8875
2046-04-01 | 2046 | 68.9623 | 55.7681 | 5.7994
2046-05-01 | 2046 | 61.6594 | 50.1066 | 5.4781
2046-06-01 | 2046 | 67.6621 | 51.0295 | 5.679
2046-07-01 | 2046 | 98.1246 | 64.0593 | 5.9474
2046-08-01 | 2046 | 93.1213 | 59.5332 | 6.0065
2046-09-01 | 2046 | 61.1665 | 46.4848 | 5.3549
2046-10-01 | 2046 | 57.6541 | 47.4188 | 5.3969
2046-11-01 | 2046 | 63.2608 | 49.666 | 8.4969
2046-12-01 | 2046 | 97.7811 | 80.7358 | 10.6446
2047-01-01 | 2047 | 157.8597 | 137.5786 | 14.1641
2047-02-01 | 2047 | 131.0157 | 117.6041 | 13.7542
2047-03-01 | 2047 | 72.6119 | 60.3477 | 10.0761
2047-04-01 | 2047 | 63.727 | 51.5344 | 5.9268
2047-05-01 | 2047 | 56.9784 | 46.3027 | 5.6008
2047-06-01 | 2047 | 62.5254 | 47.1556 | 5.8055
2047-07-01 | 2047 | 90.6754 | 59.1962 | 6.0789
2047-08-01 | 2047 | 86.0519 | 55.0136 | 6.1394
2047-09-01 | 2047 | 56.5229 | 42.9559 | 5.4791
2047-10-01 | 2047 | 53.2772 | 43.8189 | 5.5229
2047-11-01 | 2047 | 58.4583 | 45.8956 | 8.6687
2047-12-01 | 2047 | 90.358 | 74.6067 | 10.8507
2048-01-01 | 2048 | 175.7826 | 153.1989 | 14.3706
2048-02-01 | 2048 | 145.8908 | 130.9566 | 13.9511
2048-03-01 | 2048 | 80.8561 | 67.1995 | 10.2779
2048-04-01 | 2048 | 70.9624 | 57.3855 | 6.131
2048-05-01 | 2048 | 63.4476 | 51.5597 | 5.8055
2048-06-01 | 2048 | 69.6244 | 52.5095 | 6.0148
2048-07-01 | 2048 | 100.9704 | 65.9171 | 6.2925
2048-08-01 | 2048 | 95.8219 | 61.2597 | 6.3553
2048-09-01 | 2048 | 62.9404 | 47.8329 | 5.7013
2048-10-01 | 2048 | 59.3262 | 48.794 | 5.7505
2048-11-01 | 2048 | 65.0955 | 51.1064 | 8.8917
2048-12-01 | 2048 | 100.617 | 83.0773 | 11.0836
2049-01-01 | 2049 | 181.0696 | 157.8067 | 14.7472
2049-02-01 | 2049 | 150.2788 | 134.8953 | 14.3191
2049-03-01 | 2049 | 83.288 | 69.2206 | 10.5103
2049-04-01 | 2049 | 73.0967 | 59.1114 | 6.2124
2049-05-01 | 2049 | 65.3559 | 53.1105 | 5.8748
2049-06-01 | 2049 | 71.7185 | 54.0888 | 6.0885
2049-07-01 | 2049 | 104.0073 | 67.8997 | 6.3732
2049-08-01 | 2049 | 98.704 | 63.1022 | 6.4367
2049-09-01 | 2049 | 64.8335 | 49.2716 | 5.7549
2049-10-01 | 2049 | 61.1105 | 50.2616 | 5.8022
2049-11-01 | 2049 | 67.0533 | 52.6435 | 9.0597
2049-12-01 | 2049 | 103.6432 | 85.576 | 11.3238
2050-01-01 | 2050 | 165.5747 | 144.3024 | 15.0124
2050-02-01 | 2050 | 137.4187 | 123.3517 | 14.5759
2050-03-01 | 2050 | 76.1606 | 63.2971 | 10.7101
2050-04-01 | 2050 | 66.8415 | 54.053 | 6.3473
2050-05-01 | 2050 | 59.7631 | 48.5656 | 6.0047
2050-06-01 | 2050 | 65.5812 | 49.4602 | 6.2226
2050-07-01 | 2050 | 95.1069 | 62.0892 | 6.5125
2050-08-01 | 2050 | 90.2574 | 57.7023 | 6.5774
2050-09-01 | 2050 | 59.2854 | 45.0552 | 5.8864
2050-10-01 | 2050 | 55.881 | 45.9604 | 5.9355
2050-11-01 | 2050 | 61.3153 | 48.1386 | 9.2416
2050-12-01 | 2050 | 94.774 | 78.2529 | 11.5422
2051-01-01 | 2051 | 168.1472 | 146.5444 | 15.3058
2051-02-01 | 2051 | 139.5538 | 125.2682 | 14.8603
2051-03-01 | 2051 | 77.3439 | 64.2805 | 10.927
2051-04-01 | 2051 | 67.88 | 54.8928 | 6.4876
2051-05-01 | 2051 | 60.6917 | 49.3201 | 6.139
2051-06-01 | 2051 | 66.6001 | 50.2286 | 6.3614
2051-07-01 | 2051 | 96.5846 | 63.0539 | 6.657
2051-08-01 | 2051 | 91.6597 | 58.5988 | 6.7234
2051-09-01 | 2051 | 60.2065 | 45.7552 | 6.0211
2051-10-01 | 2051 | 56.7492 | 46.6745 | 6.0718
2051-11-01 | 2051 | 62.2679 | 48.8865 | 9.4356
2051-12-01 | 2051 | 96.2465 | 79.4687 | 11.778
2052-01-01 | 2052 | 170.7596 | 148.8213 | 15.605
2052-02-01 | 2052 | 141.722 | 127.2145 | 15.1503
2052-03-01 | 2052 | 78.5456 | 65.2792 | 11.1484
2052-04-01 | 2052 | 68.9346 | 55.7457 | 6.6309
2052-05-01 | 2052 | 61.6346 | 50.0864 | 6.2763
2052-06-01 | 2052 | 67.6349 | 51.009 | 6.5033
2052-07-01 | 2052 | 98.0852 | 64.0336 | 6.8047
2052-08-01 | 2052 | 93.0838 | 59.5092 | 6.8726
2052-09-01 | 2052 | 61.1419 | 46.4661 | 6.1587
2052-10-01 | 2052 | 57.6309 | 47.3997 | 6.2111
2052-11-01 | 2052 | 63.2354 | 49.646 | 9.6336
2052-12-01 | 2052 | 97.7418 | 80.7034 | 12.0188
2053-01-01 | 2053 | 173.4127 | 151.1335 | 15.9102
2053-02-01 | 2053 | 143.9239 | 129.191 | 15.4461
2053-03-01 | 2053 | 79.766 | 66.2935 | 11.3742
2053-04-01 | 2053 | 70.0056 | 56.6118 | 6.7774
2053-05-01 | 2053 | 62.5922 | 50.8646 | 6.4166
2053-06-01 | 2053 | 68.6857 | 51.8015 | 6.6483
2053-07-01 | 2053 | 99.6091 | 65.0284 | 6.9556
2053-08-01 | 2053 | 94.5301 | 60.4338 | 7.025
2053-09-01 | 2053 | 62.0918 | 47.1881 | 6.2995
2053-10-01 | 2053 | 58.5263 | 48.1361 | 6.3536
2053-11-01 | 2053 | 64.2179 | 50.4174 | 9.8358
2053-12-01 | 2053 | 99.2604 | 81.9572 | 12.2645
2054-01-01 | 2054 | 176.107 | 153.4816 | 16.2215
2054-02-01 | 2054 | 146.1601 | 131.1982 | 15.7477
2054-03-01 | 2054 | 81.0053 | 67.3235 | 11.6047
2054-04-01 | 2054 | 71.0933 | 57.4914 | 6.9271
2054-05-01 | 2054 | 63.5647 | 51.6549 | 6.5601
2054-06-01 | 2054 | 69.7529 | 52.6064 | 6.7964
2054-07-01 | 2054 | 101.1567 | 66.0388 | 7.1099
2054-08-01 | 2054 | 95.9988 | 61.3728 | 7.1809
2054-09-01 | 2054 | 63.0565 | 47.9212 | 6.4435
2054-10-01 | 2054 | 59.4356 | 48.884 | 6.4993
2054-11-01 | 2054 | 65.2156 | 51.2007 | 10.0423
2054-12-01 | 2054 | 100.8026 | 83.2306 | 12.5153
2055-01-01 | 2055 | 178.8431 | 155.8662 | 16.5389
2055-02-01 | 2055 | 148.4309 | 133.2366 | 16.0553
2055-03-01 | 2055 | 82.2638 | 68.3695 | 11.84
2055-04-01 | 2055 | 72.1979 | 58.3846 | 7.0801
2055-05-01 | 2055 | 64.5523 | 52.4574 | 6.7067
2055-06-01 | 2055 | 70.8366 | 53.4237 | 6.9479
2055-07-01 | 2055 | 102.7284 | 67.0648 | 7.2675
2055-08-01 | 2055 | 97.4903 | 62.3263 | 7.3401
2055-09-01 | 2055 | 64.0362 | 48.6658 | 6.5906
2055-10-01 | 2055 | 60.3591 | 49.6435 | 6.6483
2055-11-01 | 2055 | 66.2288 | 51.9962 | 10.2532
2055-12-01 | 2055 | 102.3688 | 84.5237 | 12.7713
2056-01-01 | 2056 | 181.6218 | 158.2879 | 16.8627
2056-02-01 | 2056 | 150.7371 | 135.3067 | 16.3691
2056-03-01 | 2056 | 83.542 | 69.4317 | 12.08
2056-04-01 | 2056 | 73.3196 | 59.2917 | 7.2365
2056-05-01 | 2056 | 65.5552 | 53.2725 | 6.8565
2056-06-01 | 2056 | 71.9372 | 54.2537 | 7.1027
2056-07-01 | 2056 | 104.3245 | 68.1068 | 7.4287
2056-08-01 | 2056 | 99.005 | 63.2947 | 7.5029
2056-09-01 | 2056 | 65.0312 | 49.4219 | 6.7411
2056-10-01 | 2056 | 61.2969 | 50.4148 | 6.8006
2056-11-01 | 2056 | 67.2578 | 52.8041 | 10.4684
2056-12-01 | 2056 | 103.9593 | 85.837 | 13.0326
2057-01-01 | 2057 | 184.4436 | 160.7472 | 17.1929
2057-02-01 | 2057 | 153.079 | 137.4089 | 16.6891
2057-03-01 | 2057 | 84.8399 | 70.5105 | 12.325
2057-04-01 | 2057 | 74.4587 | 60.2129 | 7.3963
2057-05-01 | 2057 | 66.5738 | 54.1001 | 7.0097
2057-06-01 | 2057 | 73.0549 | 55.0967 | 7.261
2057-07-01 | 2057 | 105.9453 | 69.165 | 7.5933
2057-08-01 | 2057 | 100.5432 | 64.2781 | 7.6692
2057-09-01 | 2057 | 66.0415 | 50.1897 | 6.895
2057-10-01 | 2057 | 62.2492 | 51.1981 | 6.9564
2057-11-01 | 2057 | 68.3028 | 53.6245 | 10.6883
2057-12-01 | 2057 | 105.5745 | 87.1706 | 13.2993
2058-01-01 | 2058 | 187.3093 | 163.2447 | 17.5296
2058-02-01 | 2058 | 155.4574 | 139.5438 | 17.0154
2058-03-01 | 2058 | 86.1581 | 71.606 | 12.575
2058-04-01 | 2058 | 75.6156 | 61.1484 | 7.5596
2058-05-01 | 2058 | 67.6081 | 54.9407 | 7.1662
2058-06-01 | 2058 | 74.1899 | 55.9527 | 7.4227
2058-07-01 | 2058 | 107.5914 | 70.2396 | 7.7616
2058-08-01 | 2058 | 102.1053 | 65.2768 | 7.8392
2058-09-01 | 2058 | 67.0676 | 50.9695 | 7.0523
2058-10-01 | 2058 | 63.2164 | 51.9936 | 7.1157
2058-11-01 | 2058 | 69.364 | 54.4576 | 10.9128
2058-12-01 | 2058 | 107.2148 | 88.5249 | 13.5715
2059-01-01 | 2059 | 190.2195 | 165.781 | 17.8731
2059-02-01 | 2059 | 157.8727 | 141.7119 | 17.3482
2059-03-01 | 2059 | 87.4967 | 72.7185 | 12.8302
2059-04-01 | 2059 | 76.7904 | 62.0985 | 7.7264
2059-05-01 | 2059 | 68.6585 | 55.7943 | 7.3262
2059-06-01 | 2059 | 75.3426 | 56.822 | 7.588
2059-07-01 | 2059 | 109.263 | 71.3309 | 7.9336
2059-08-01 | 2059 | 103.6917 | 66.2909 | 8.0129
2059-09-01 | 2059 | 68.1096 | 51.7614 | 7.2131
2059-10-01 | 2059 | 64.1986 | 52.8014 | 7.2785
2059-11-01 | 2059 | 70.4417 | 55.3037 | 11.142
2059-12-01 | 2059 | 108.8805 | 89.9003 | 13.8493
2060-01-01 | 2060 | 193.1749 | 168.3567 | 18.2235
2060-02-01 | 2060 | 160.3256 | 143.9136 | 17.6877
2060-03-01 | 2060 | 88.8561 | 73.8483 | 13.0906
2060-04-01 | 2060 | 77.9835 | 63.0633 | 7.897
2060-05-01 | 2060 | 69.7252 | 56.6612 | 7.4898
2060-06-01 | 2060 | 76.5132 | 57.7049 | 7.7569
2060-07-01 | 2060 | 110.9606 | 72.4391 | 8.1094
2060-08-01 | 2060 | 105.3028 | 67.3209 | 8.1905
2060-09-01 | 2060 | 69.1678 | 52.5656 | 7.3775
2060-10-01 | 2060 | 65.196 | 53.6218 | 7.445
2060-11-01 | 2060 | 71.5362 | 56.163 | 11.376
2060-12-01 | 2060 | 110.5722 | 91.2971 | 14.1329