| SAFE WORK PERMIT Permit No. ___________ (Optional) Date: Emergency Notification: (telephone number required) |  |  |  |  | (This section for office use only) Supervisor Audit: Date: ### Print Name Annual Safety Audit (for Confined Space Entry Permits): Date: Print Name |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A. WORK REQUEST (COMPLETE THIS SECTION FOR ALL PERMITS) |  |  |  |  |  |  |  |  |  |  |  |
| - Permit Type: Spark Producing Hot Work Non-Spark Producing Hot Work Non-Hazardous Confined Space Entry Hazardous Confined Space Entry Excavation Entry Other (specify): - Facility Name: Location of Work: - Work To Be Undertaken: - Company(s) Conducting Job: - Task/Entry Supervisor: 6. Number in Work Party: |  |  |  |  |  |  |  |  |  |  |  |
| B. HAZARDS IDENTIFICATION (COMPLETE THIS SECTION FOR ALL PERMITS) |  |  |  |  |  |  |  |  |  |  |  |
| - Hazardous Atmospheres Trapped Pressure Chemicals Electricity Open Flames, Arcs or Sparks Crane Operation Simultaneous Operations Manual Lifting Flying Particles or Sparks Danger of Falling Excavation Collapse Noise NORM or other Radiation Moving Machinery Weather Hazards Wildlife Temperature Extremes Overhead Hazards Flammables/Combustibles/Explosives Engulfment Safety Systems bypassed/disabled SDS Reviewed Other: |  |  |  |  |  |  |  |  |  |  |  |
| C. WORK PREPARATION (COMPLETE THIS SECTION FOR ALL PERMITS) |  |  |  |  |  |  |  |  |  |  |  |
| - Electrical Equipment is: De-energized Locked Tagged Verified Safe N/A ----------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------- - Vessels/Piping are: Depressurized Disconnected Blinded Double Blocked & Bled Flushed Inert Gas Purged Ventilated (equipment bonded?) N/A ----------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------- - Valves Are: Closed Locked Tagged Blinded Removed Open (if necessary for safe work – i.e. bleed valve, open drain, etc.) N/A ----------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------- - Sewer/Drains are: Blocked Covered N/A - Equipment/Machinery/Energy Sources Secured From Unexpected Movement or Start-up? Yes N/A - Additional Lighting Required? Yes No N/A - Bonding/grounding attached and verified: Yes No N/A - Has emergency planning been completed? Yes, Specify:_____________________________________________ N/A - Is emergency equipment readily available, in good condition, and recently inspected? Yes N/A |  |  |  |  |  |  |  |  |  |  |  |
| D. ISOLATION VERIFICATION (Verified by Task Supervisor) (COMPLETE THIS SECTION FOR ALL PERMITS) |  |  |  |  |  |  |  |  |  |  |  |
| - Process/Mechanical Isolations N/A Applicable (Energy Control Procedures Attached) All relevant systems have been isolated and locked and tagged out in accordance with Marathon’s policy. |  |  |  |  |  | - Electrical Isolations N/A Applicable (Energy Control Procedures Attached) All relevant systems have been isolated and locked and tagged out in accordance with Marathon’s policy. |  |  |  |  |  |
| E. PROTECTIVE APPAREL/EQUIPMENT (COMPLETE THIS SECTION FOR ALL PERMITS) |  |  |  |  |  |  |  |  |  |  |  |
| - Standard: Hard Hat Safety Glasses w/Sideshields FR Clothing Safety Toe Boots Personal H2S Monitor ------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------ - Gloves: General Purpose Chemical Resistant Impact Cut Resistant Welding Dielectric ------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------ - Footwear: Chemical Resistant Safety Toe Boots Metatarsal Protection Slip Resistant Boot Covers ------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------ - Respiratory: Supplied Air: SCBA Hose Line w/ Escape Unit Other: ___________ Air Purifying Respirator with: Particulate/HEPA VOC Acid Gas Other: ___________ ------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------ - Clothing: Water Resistant Chemical Resistant --------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------- - Fall: Harness Arrest Lanyard ( Min. fall distance > 18’) Self-Retracting Lanyard Fall Restraint ------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------ - Additional Monitors: Multi-Function Other (specify):___________________________________________________ ------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------ - Head / Face / Eye: Welding Hood Face Shield Goggles FR Hood Insulated Hood Hard Hat Strap ------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------ - Misc.: Hearing Protection Hi-Vis Vest Tool Tether Other _____________________________________ |  |  |  |  |  |  |  |  |  |  |  |
| F. ATMOSPHERIC MONITORING (COMPLETE THIS SECTION FOR ALL PERMITS (attach extra forms as needed, record actual readings) unless determined not required for “Other” checked in # 1.) |  |  |  |  |  |  |  |  |  |  |  |
| Multifunction Unit within Calibration? Yes |  | Oxygen 19.5% - 23.5 % Entry 16%-23.5% | LEL Hot work 0% Entry < 10% | H2S <10 ppm |  |  | CO Entry <25 ppm (if applicable) | ## Other | NORM (if applicable) | Time | Initials |
|  | Initial Check |  |  |  |  |  |  |  |  |  |  |
|  | Recheck |  |  |  |  |  |  |  |  |  |  |
|  | Recheck |  |  |  |  |  |  |  |  |  |  |
| - Continuous Monitoring (document minimum of 1 hour) or Periodic Monitoring (document minimum of every 4 hours) |  |  |  |  |  |  |  |  |  |  |  |
| G. EXCAVATIONS Applicable Non-Applicable (COMPLETE THIS SECTION FOR ALL EXCAVATION ENTRY) |  |  |  |  |  |  |  |  |  |  |  |
| - Is four (4) or more feet in depth? Yes No - Has limited or restricted means for access/egress? Yes No - Contains or has the potential to contain a hazardous atmosphere or other serious safety hazard? Yes No Yes to all (Complete Section H) No to any (Section H is non-applicable) |  |  |  |  |  |  |  |  |  |  |  |

| H. CONFINED SPACES OR EXCAVATIONS REQUIRING RESCUE PROVISIONS Applicable Non-Applicable (Permit Issuer completes 33-35 and 37-38 Attendant completes 36) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sections B, C, D, E, F and G have been thoroughly completed, reviewed, and all hazards properly addressed prior to personnel entry. - SPACE TO BE ENTERED: - PURPOSE OF THE ENTRY: - ATTENDANTS: Printed Name: Signature: Date: Time: Printed Name: Signature: Date: Time: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| AUTHORIZED ENTRANTS (TO BE COMPLETED BY THE ATTENDANT) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Printed Name of Entrant(s) |  | ENTRY INTO |  |  | EXIT FROM |  |  | ENTRY INTO |  |  |  |  | EXIT FROM |  |  |  |
|  |  |  | Date |  | Time | Date | Time |  | Date |  | Time |  |  | Date |  | Time |  |
| - ENTRANT - ATTENDANT COMMUNICATIONS: Visual Contact Radios (approved for hazard class) Voice Tagline Signals Other: ___________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - RESCUE AND EMERGENCY PROVISIONS: (Required for Hazardous Confined Spaces and Excavations Requiring Rescue Provisions) Is Non-Entry Rescue Feasible? Yes (Must Meet All Requirements Below for Non-Entry Rescue) ALL entrants are equipped with proper non-entry rescue equipment including a full body harness and lifeline. Lifelines are attended by personnel who are physically capable of removing each entrant(s) from the confined space. The space is configured to allow non-entry rescue without the entrant(s) becoming trapped or entangled. A mechanical retrieval device or fixed tie-off point is utilized for vertical entries > 5 feet deep Or N/A if < 5 feet No (Rescue Team Must Be Readily Available and Rescue Equipment Staged On Site) Name of Rescue Service? Signatures of Rescue Team Members: Verify at least one member of the Rescue Team is First Aid/CPR certified. Check the box once verified |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| I. WORKER BRIEFING -  Must Brief Workers on All Items  (COMPLETE THIS SECTION FOR ALL PERMITS) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - All members of the work party have been briefed on: Potential Hazards JSA / Safe Work Procedures Conditions of the Permit Emergency Action/Rescue Means of Egress and Muster Area |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| J. ADDITIONAL PERMIT CONDITIONS AND OTHER HAZARDS NOT PREVIOUSLY LISTED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Applicable Non- Applicable Specify: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| K. PERMIT AUTHORIZATION/VALIDATION (COMPLETE THIS SECTION FOR ALL PERMITS) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Is a fire watch needed? Yes No If Yes, Names(s): - Is firefighting equipment readily available, in good condition, and recently inspected? Yes - I understand my duties as a fire watch. Signed: (Company) Firewatch - I have taken over fire watch from watchman noted above at (Time) Signed: (Company) Firewatch - I certify that I have prepared this work and equipment in accordance with Marathon’s Safe Work Permitting Program and agree to perform this work within the established guidelines of this permit. I acknowledge that the permit shall be voided if any unsafe conditions arise or if the conditions of the permit are not met. I further agree to brief any additional arriving workers on all categories contained in Section J of this permit prior to allowing them to join the work party. __________________________________________________ ________________________________________________ Print & Sign: Task or Entry Supervisor Print & Sign: Acceptance By Relieving Task or Entry Supervisor - I certify that I have examined the work location and reviewed the work procedures to be undertaken and ensure that all persons in the work party have been briefed of the associated hazards and emergency actions and therefore authorize the performance of this work in accordance with the conditions and guidelines contained in this permit. The permit shall be voided if unsafe conditions arise or if any conditions of the permit are not met. _______________________________________________________________________________ Print & Sign: Permit Issuer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 47. |  | Permit Issued |  | Permit Expiration (Not to exceed one full work shift*) |  |  |  | Revalidation (May be revalidated only during original validation period) |  |  |  |  |  |  |  |  |  |
|  | Time | am pm |  | am pm |  |  |  | Time |  |  |  |  |  |  |  |  |  |
|  | Date |  |  |  |  |  |  | Date |  |  |  |  |  |  |  |  |  |
| * One full work shift means the same personnel for a period not to exceed 12 hours. |  |  |  |  |  |  |  | Initials |  |  |  |  |  |  |  |  |  |
| L. PERMIT CANCELLATION/POST ENTRY REVIEW (COMPLETE THIS SECTION FOR ALL PERMITS) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - I have inspected the work area or confined space and hereby cancel and remove this permit for the following reason: Job Completed in Full Expiration of Authorized Time Period Occurrence of Non-Authorized Condition If any non-authorized tasks are identified, please explain: Date: Post Confined Space Entry Review Conducted Print & Sign: Task/Entry Supervisor or Permit Issuer Time: am pm No Review Needed; Not a Confined Space Entry |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

This form shall be securely attached and filed with the original Safe Work Permit

| THIS INFORMATION MUST BE THE SAME AS IS CONTAINED IN SECTION A OF THE SAFE WORK PERMIT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Permit Type: |  | Spark Producing Hot Work Non-Spark Producing Hot Work Non-Hazardous Confined Space Entry |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Hazardous Confined Space Entry Excavation Entry Other (specify): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. | Facility Name: |  |  |  |  |  |  |  |  |  |  | Location of Work: |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. | Work To Be Undertaken: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. | Company(s) Conducting Job: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. | Task/Entry Supervisor: |  |  |  |  |  |  |  |  |  |  |  |  |  |  | - Number in Work Party: _____________________ |  |  |  |  |  |  |  |  |
| Record Actual Readings |  | Oxygen 19.5% - 23.5% |  |  | LEL Hot work 0% Entry <= 10% |  |  | H2S <10 ppm |  |  | CO Entry <25 ppm or applicable |  |  | Other |  |  |  | NORM (If applicable) |  | Time |  |  | Initials |  |
| Recheck |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Recheck |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Recheck |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Recheck |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Recheck |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Recheck |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Recheck |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Recheck |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Recheck |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Recheck |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Recheck |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Recheck |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Recheck |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Recheck |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Recheck |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Recheck |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Recheck |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Recheck |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Recheck |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Recheck |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Recheck |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Recheck |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| AUTHORIZED ENTRANTS TO A CONFINED SPACE OR EXCAVATION REQUIRING RESCUE PROVISIONS (TO BE COMPLETED BY ATTENDANT) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Printed Name of Entrant(s) |  |  |  | ENTRY INTO THE SPACE |  |  |  |  | EXIT FORM THE SPACE |  |  |  |  |  | ENTRY INTO THE SPACE |  |  |  |  |  | EXIT FORM THE SPACE |  |  |  |
|  |  |  |  | Date |  | Time | Initials |  | Date | Time |  |  | Initials |  | Date |  | Time |  | Initials |  | Date | Time |  | Initials |