DecorScreen

How to write specification:

- Interior Slat panelling shall be DecorScreen by Decor Systems.

- Supplier: Decor Systems Ph: 1800 835 035

- Profile: DST__ (Insert Letter according to profile chosen)

- Finish: ________________  (Choose from solid timbers, 2 pack poly colours or the range of laminates available)

- Backing board to be ____ (Choose from Acoustic panel / Solid backing for decorative purposes or Cross Battens for an open backing

- DecorScreen panels shall be supplied with DecorSorb Integrated Acoustic Backing.

- Panels to be ​Fire Group 3 / ​2 / 1 [delete ​as required] ​per BCA ​Specification ​C1.10 clause 4. ​[Note that fire ​groups 1 is ​only available ​in the ​DecorImage or SmartLook range of laminate ​finish type and ​Group 2 in ​Natural timber veneers] ​(Contact your project consultant on 1800 835 035 to discuss group 1 fire ratings for solid timber using Fireshield.

- DecorScreen cannot be substituted unless agreed by Architect and Acoustic Engineer. Panels should be allowed to acclimatise on site for at least five days before installation. Decor Systems certificate #  (Contact your Decor Systems project consultant for your individual project number) to be supplied upon completion.

- DecorShield to be applied.

- Panel ​installation to ​be as per ​manufacturer​s instructions ​and AS/NZS 2785.​ - Installation ​to be done ​by an approved ​ceiling and ​partition ​contractor. ​

- Product ​guarantee to be ​99 years as per Decor Systems guarantee.

- Please contact Decor Systems for your project-specific completion number.