DecorSlat Max Micro

How to write your specification:

- Interior Beams shall be DecorSlat MaxMicro  by Decor Systems.

- Supplier Decor Systems Ph: 1800 835 035

- Depth: ________________ (145 / 195 / 295mm) [You are free to nominate a custom depth and even vary the depths]

- Beams to be installed at ____ centres

- Finish: Veneer/Laminate: ________________

- Decor Systems ​engineering ​certification ​to be supplied for ceiling ​fixing system. ​

- Beams to be ​Fire Group 3 / ​2 / 1 [delete ​as required] ​per BCA ​Specification ​C1.10 clause 4 ​
[Note that ​fire group 1 is ​only available ​in the ​SmartLook and DecorImage range of finishes  type and ​Group 2 in ​Natural Timber Veneers]​

- DecorShield to be applied.

- DecorSlat MaxMicro  cannot to be substituted unless agreed by Architect and Acoustic Engineer and panels must be supplied with Decor Systems Certificate Number ______________

Panels should be allowed to acclimatise on site for at least five days before installation.

- Product ​guarantee to be ​99 years as per Decor Systems guarantee.

- Installation to ​be done by an ​approved ​ceiling and ​partition ​contractor.​

(Please contact Decor Systems for your project specific completion number)