VoglTop Tec

How to specify VoglTop Tec Acoustic System

- Interior panelling to be VoglTopTec Acoustic System Ceiling System by Decor Systems

- Contact Decor Systems on Ph: 1800 835 035.

- Profile: _____(Insert code according to profile chosen and acoustic requirement)

- VoglTop Tec System should be installed as per manufacturer’s instructions. Acoustic Panel type cannot to be substituted unless agreed by Architect and Acoustic Engineer ____________

- Panels to be ​Fire Group  1 ​per BCA ​Specification ​C1.10 clause 4.

- Vogl cannot to be substituted unless agreed by Architect and Acoustic Engineer. Panels should be allowed to acclimatise on site for at least five days before installation. Decor Systems certificate #  (Contact your Decor Systems project consultant for your individual project number) to be supplied upon completion.

- Panel ​installation to ​be as per ​manufacturer'​s instructions ​and AS/NZS 2785.​ - Installation ​to be done ​by an approved ​ceiling and ​partition ​contractor. ​

- Product ​guarantee to be ​50 years.

- (Please contact Decor Systems for your project specific completion number)