DecorTone

HOW TO WRITE UP YOUR SPECIFICATION

- Interior panelling shall be DecorTone by Decor Systems.

- Supplier: Decor Systems Ph: 1800 835 035

- Substrate of panels to be ___ (Choose from: Solid Timber: Western Red Cedar / Hemlock / Hoop Pine / MR MDF)

- Jointing to be tounge and grooved for seamless fixing

- Panels to be ​Fire Group 3 / ​2 / 1 [delete ​as required] ​per BCA ​Specification ​C1.10 clause 4. ​[Note that fire ​groups 1 is ​only available with the application of Fireshield] ​(Contact your project consultant on 1800 835 035 to discuss group 1 fire ratings

- DecorTone cannot to be substituted unless agreed by Architect and Acoustic Engineer. Panels should be allowed to acclimatise on site for at least five days before installation. Decor Systems certificate #  (Contact your Decor Systems project consultant for your individual project number) to be supplied upon completion.

- DecorShield to be applied.

- Panel ​installation to ​be as per ​manufacturer'​s instructions ​and AS/NZS 2785.​ - Installation ​to be done ​by an approved ​ceiling and ​partition ​contractor. ​

- Product ​guarantee to be ​99 years as per Decor Systems guarantee.

- Please contact Decor Systems for your project specific completion number.