Decor3D

HOW TO WRITE UP YOUR SPECIFICATION

- Interior panelling shall be Decor3D by Decor Systems.

- Supplier: Decor Systems Ph: 1800 835 035

- Finish: ________________  (Choose from Natural timber veneers, 2 pack poly colours or the range of laminates available)

- Substrate of panels to be _____ (Choose from: FR MDF / MR MDF / Plywood / OSB Board / Black MDF / Other)

- Joint to be ___________ [please choose a joint option: (Square / Arrised)]

- Edging to be __________[please choose an edging option: (Matching / Black / N/A)]

- Decor3D panels shall be supplied with DecorSorb Integrated Acoustic Backing.

- Panels to be include DecorInsul behind the panels.

- Decor Systems to supply Black Backing Strips as part of system.

- DecorShield to be applied.

- Panels to be ​Fire Group 3 / ​2 / 1 [delete ​as required] ​per BCA ​Specification ​C1.10 clause 4. ​[Note that fire ​groups 1 is ​only available ​in the ​DecorImage or SmartLook range of laminate ​finish type and ​Group 2 in ​Natural timber veneers]

- Decor3D cannot to be substituted unless agreed by Architect and Acoustic Engineer. Panels should be allowed to acclimatise on site for at least five days before installation. Decor Systems certificate #  (Contact your Decor Systems project consultant for your individual project number) to be supplied upon completion.

- Panel ​installation to ​be as per ​manufacturer'​s instructions ​and AS/NZS 2785.​ - Installation ​to be done ​by an approved ​ceiling and ​partition ​contractor. ​

- Product ​guarantee to be ​99 years as per Decor Systems guarantee.

- Please contact Decor Systems for your project specific completion number.