## Maintenance
Greenbox Design Studio
Interior Maintenance Schedule
A twelve-month calendar for finishes, hardware and services, with an annual budget
+91 77387 66599 · greenboxdesignstudio.com · Free to use. This is a planning aid, not a quotation. Figures are indicative 2026 Mumbai bands, ex-GST unless stated.
Element | Task | Frequency | Months due | Who does it | Cost per visit (Rs) | Visits per year | Annual cost (Rs)
Kitchen hinges | Adjust, clean and lubricate every hinge and channel | Half-yearly | March, September | Carpenter | 1800 | 2
Drawer channels | Full-extension test under load, tighten fixings | Half-yearly | March, September | Carpenter | 1200 | 2
Chimney | Baffle filter degrease and motor service | Quarterly | Jan, Apr, Jul, Oct | Brand service | 1400 | 4
Countertop seal | Re-seal natural stone; check the sink silicone | Yearly | November | Stone vendor | 3200 | 1
Sink and traps | Clear the bottle trap and the utility floor trap | Quarterly | Jan, Apr, Jul, Oct | Plumber | 800 | 4
Bathroom silicone | Inspect wall-to-floor joints, re-run where discoloured | Yearly | October (pre-winter) | Plumber | 2600 | 1
Geyser | Anode and element check, descale | Yearly | October | Brand service | 1500 | 1
Waterproofing | Visual check of the ceiling below every wet area | Half-yearly | May, September | Owner | 0 | 2
Air conditioners | Deep clean before summer, gas check after monsoon | Half-yearly | March, October | AC vendor | 1100 | 2
AC drain lines | Flush the drain and check the slope to the shaft | Quarterly | Feb, May, Aug, Nov | AC vendor | 450 | 4
False ceiling | Check for damp staining at the AC and bathroom edges | Half-yearly | June, September | Owner | 0 | 2
Paint touch-up | Spot-touch high-traffic corners and skirting | Yearly | November | Painter | 6500 | 1
External-facing walls | Pre-monsoon seepage check on all west-facing walls | Yearly | May | Owner | 0 | 1
Sliding wardrobe | Clean the track, check rollers and anti-jump clips | Half-yearly | April, October | Carpenter | 1500 | 2
Door hardware | Tighten hinges, lubricate locks, check door closers | Yearly | April | Carpenter | 1800 | 1
Shower glass | Replace the drip seal, check the hinge torque | Yearly | October | Glass vendor | 2200 | 1
Water purifier | Filter and membrane replacement | Yearly | July | Brand service | 4200 | 1
Lighting | Replace failed drivers, clean diffusers, check dimmers | Yearly | December | Electrician | 2800 | 1
Distribution board | Torque check on terminals, RCCB trip test | Yearly | December | Electrician | 1600 | 1
Upholstery and curtains | Professional clean of fabric and dry-clean drapes | Yearly | December | Cleaning vendor | 7500 | 1
Pest control | Preventive treatment, kitchen and wet areas | Half-yearly | March, September | Pest vendor | 2400 | 2
Wooden flooring | Deep clean and re-coat where the sheen has gone | Every 2 years | March (alternate years) | Flooring vendor | 9500 | 1
TOTAL
GST @ 18%
Grand total (incl. GST)
Note: Costs are 2026 Mumbai vendor rates for a 2BHK and are ex-GST. Column H is a formula.
Note: The three zero-cost owner tasks are the most valuable rows on the sheet. Put them in your calendar.
Note: A flat maintained on this schedule holds its finish for eight to ten years instead of four.
Free to copy and use on any project, with any contractor. Not a quotation. Greenbox Design Studio, Mumbai · +91 77387 66599 · greenboxdesignstudio.com