**NCC 2022 – Volume Two (Including any amendment adoptions)**

|  |  |
| --- | --- |
|  |  |
| Property Address |  |
|  |  |
| CC or CDC  Application No. |  |
|  |  |
| Description of Work  Being Certified |  |
| I hereby certify that:  Note: Attach certification & or testing of surface of nosing strip materials in accordance with AS 4586 -2013.  All internal and external ramps & stair treads have a surface, or a nosing strip, with a slip resistance classification in accordance with AS 4586 – 2013 and Clause 11.2.4 & Table 11.2.4 of the BCA/NCC Volume 2 - 2022 – Housing Provisions.  Ramp >1:8 – Dry P3 or R10 or Wet P5 or R12  Tread Surface – Dry P3 or R10 or Wet P4 or R11  Nosing Strip – Dry P3 or Wet 4  Where a sealant or finish has been applied to achieve compliance, the applicant/owner is aware that the slip resistance rating will degrade over time and reapplication in accordance with manufactures specifications will l be required to maintain compliance.  I confirm that I am appropriately competent and qualified to certify this element. | |
| Details of the Person  Making the Statement | Name:  Email:  Phone No.:  Licence No.:  Company: |
|  |  |
| Date |  |
|  |  |
| Signature |  |