**NCC 2022 – Volume Two (Including any amendment adoptions)**

|  |  |
| --- | --- |
|  |  |
| Property Address |  |
|  |  |
| CC or CDC  Application No. |  |
|  |  |
| Description of Work  Being Certified |  |
| I hereby certify that:  Wall to Boundary  That the walls within 900mm of the property boundary have been constructed with a Fire Resistance Level (FRL) of not less than 60/60/60 as required by Part 9.2 *“Fire Separation of External Walls”* of Volume 2 of the BCA 2022 – Housing Provisions.  Separation of Dwellings – Wall to Wall (same lot)  That the walls within 1.8m of another dwelling within the property lot have been constructed with a Fire Resistance Level (FRL) of not less than 60/60/60 as required by Part 9.2 *“Fire Separation of External Walls”* of Volume 2 of the BCA 2022 – Housing Provisions.  The material specifications, if not approved or have changed from the approved Construction Certificate & or Complying Development Certificate specifications, have been enclosed. I confirm I am appropriately competent and qualified to certify this element. | |
| Details of the Person  Making the Statement | Name:  Email:  Phone No.:  Licence No.:  Company: |
|  |  |
| Date |  |
|  |  |
| Signature |  |