| Property Address |  |
| --- | --- |
| CC or CDC Application No. |  |
| Description of Work Being Certified |  |
| I hereby certify that: The Swim Spa/Pool has been installed with its own dedicated hard wired circuit fitted with its own earth leakage protection device. Spa – The supply from the electrical switchboard is via a sealed conduit system which is fitted through the spa support wall and wired directly to the spa electrics which is housed in a sealed unit. Pool – All unsealed electrical installations have been fitted above the nominated AHD levels. All work has been carried out by a licensed electrician and installed in accordance with AS 2160.1 – 2007, AS 1926.17 - 2012 and AS 3000 requirements. I confirm that I am appropriately competent and qualified to certify this element. |  |
| Details of the Person Making the Statement | Name: Email: Phone No.: Licence No.: Company: |
| Date |  |
| Signature |  |