## Sheet1
Lighting Fixture Schedule
TYPE | DESCRIPTION | MANUFACTURER & CAT No. | LINKS TO SPEC SHEETS | LINKS TO IES FILES | LINKS TO BIM FILES | SPACE
| fully tunable linear cove | KETRA ¦ CM-G2-12-LUMENS-BT-BEAM-XXX-A-WH | https://www.ketra.com/hubfs/Active%20PDFs/Athena%20Update%20Spec%20Sheets/G2_Spec_3662375f.pdf | https://www.ketra.com/led-lighting-products/luminaires/g2linear | no BIM files | Conference Room
| fully tunable spectrum recessed downlight | KETRA ¦ CM-D3XXX-XXX-XXX-BEAM-VOLT-XXX | https://www.ketra.com/led-lighting-products/luminaires/d3downlight | https://www.ketra.com/led-lighting-products/luminaires/d3downlight | no BIM files | Conference Room
| fully tunable spectrum recessed linear slot | KETRA ¦ CM-L4R-XXX-XXX-FO-VOLT-XXX-XXX-XXX-LENGTH | https://www.ketra.com/hubfs/Active%20PDFs/Athena%20Update%20Spec%20Sheets/L4R_Spec_3662377B.pdf | https://www.ketra.com/led-lighting-products/luminaires/l4rrecessedlinear | no BIM files | Conference Room
| antimicrobial recessed troffer (static white) | COLUMBIA ¦ SCCT-SIZE-XXX-XXX-XXX-L1-XXX-XXX-U | https://hubbellcdn.com/specsheet/HLI_SCCT_spec.pdf | no IES files | https://www.hubbell.com/columbialighting/en/Products/Lighting-Controls/Commercial-Indoor-Lighting/Recessed-Linear-Troffers-Panels/SCCT/p/3563132 | Kitchen
| antimicrobial recessed troffer (static white) | COLUMBIA ¦ SCLT-SIZE-XXX-XXX-XXX-L1-XXX-XXX-FA-XXX-U | https://hubbellcdn.com/specsheet/HLI_SCLT_spec.pdf | no IES files | https://www.hubbell.com/columbialighting/en/Products/Lighting-Controls/Commercial-Indoor-Lighting/Recessed-Linear-Troffers-Panels/SCLT/p/3563131 | Kitchen
| acoustic pendant linear (static white) | LUMENWERX ¦ CLUPOSA-XXX-WW-6-XXX-XXX-XXX-SW-XXX-BEAM-CRI90-XXX-XXX-VOLT-XXX-XXX-MOUNTING TYPE | https://lumenwerx.com/wp-content/files/CLUSTER-ACOUSTIX-LINEAR-SPEC.pdf | no IES files | https://lumenwerx.com/en/downloads/?types[]=spec_sheets&types[]=brochures&types[]=3d_revit&types[]=images&p_selected[]=25490 | Kitchen
| cove light and high output graze (RGB) | TRAXON ¦ HO-XXX-RGB-GRAZE | https://www.osram.us/traxon/products/ambiance-and-accent/ls_cove_ac_ho_rgb_graze_1.jsp | https://www.osram.us/traxon/products/ambiance-and-accent/ls_cove_ac_ho_rgb_graze_1.jsp | no BIM files | Lobby / Open Area
| uplit acoustical panel (static white) | LUXXBOX ¦ LX-WPU-SIZE-COLOR-XXX-XXX-UNV-XXX | https://www.luxxbox.com/content/uploads/2020/01/LX-Waffle-Pendant-Uplit-SpecInstall-2020-v1.5.pdf | https://www.luxxbox.com/product/waffle-pendant-uplit/ | no BIM files | Lobby / Open Area
| luminous stretch ceiling panels (static, tunable, RGBW, digital) | TLS ¦ TLS-LC-XXX-XXX-XXX-XXX-XXX-XXX-XXX-XXX-XXX-MOUNTING | https://www.tls-led.com/downloads/cutsheets/lumicloud-cutsheet.pdf | no IES files | no BIM files | Lobby / Open Area
| 3” recessed downlight NSF rated (static white) | PRESCOLITE ¦ LTR-3RD-H-LUMENS-DM1-34-LTR-3RD-T-LUMENS-CCT-CRI-DISTRIBUTION-FINISH-COLOR | https://www.hubbell.com/prescolite/en/Products/Lighting-Controls/Commercial-Indoor-Lighting/Recessed-Downlights/LITEISTRY-3-Round-Downlight/p/3775832 | https://www.hubbell.com/prescolite/en/Products/Lighting-Controls/Commercial-Indoor-Lighting/Recessed-Downlights/LITEISTRY-3-Round-Downlight/p/3775832 | https://www.hubbell.com/prescolite/en/Products/Lighting-Controls/Commercial-Indoor-Lighting/Recessed-Downlights/LITEISTRY-3-Round-Downlight/p/3775832 | Lobby / Open Area
| acoustic pendant linear (static white) | OCL ¦ XXX-XXX-36-MW-XXX-XXX-XXX-XXX-UNV-XXX-XXX-XXX | https://ocl.com/wp-content/uploads/2019/07/OCL_KWYET_LED_STD_SPEC_JUN2020.pdf | https://ocl.com/product/kwyet_pendant/ | https://ocl.com/product/kwyet_pendant/ | Lobby / Open Area
| linear luminaire with optical flexibility (static white) | LUMENWERX ¦ UBIK-XXX-XXX-XXX-XXX-XXX-XXX-XXX-VOLT-XXX | https://lumenwerx.com/en/product-line/ubik/ | https://lumenwerx.com/en/product-line/ubik/ | https://lumenwerx.com/en/product-line/ubik/ | Open Office
| acoustic linear (static white) | ALW ¦ SP2.5SA-XXX-S-XXX-XXX-XXX-XXX-XXX-XXX-XXX-XXX | https://alwusa.com/wp-content/uploads/2020/04/SP2.5-SpecSheet-Acoustic-9-28-20-1.pdf | https://alwusa.com/products/sp25-acoustic/# | no BIM files | Open Office
| acoustic pendant linear (static white) | LUXXBOX ¦ LX-BL-XXX-XXX-XXX-XXX-UNV-XXX | https://www.luxxbox.com/content/uploads/2020/07/LX-Blade-Spec-Sheet-2020-v5.6.pdf | https://www.luxxbox.com/product/blade/ | https://www.luxxbox.com/product/blade/ | Open Office
| automated window treatment | LUTRON ¦ SIVOIA QS | https://www.lutron.com/en-US/Service-Support/Pages/Technical/PerfomanceSpecs.aspx | no IES files | https://www.lutron.com/en-US/Service-Support/pages/Technical/RevitDownloads.aspx?syst=Shading+Systems&prodn=Sivoia+QS | Open Office
| automated window treatment | LUTRON ¦ CONTRACT ROLLER SHADES | https://www.lutron.com/en-US/Products/Pages/ShadingSystems/ContractRoller/Overview.aspx | no IES files | https://www.lutron.com/en-US/Service-Support/pages/Technical/RevitDownloads.aspx?syst=Shading+Systems&prodn=Contract+Roller+Shades | Open Office
| wall grazer (static white) | LUMENWERX ¦ V3PERS-HLO-LED-90-LUMENS-COLOR TEMP-LENGTHUNV-D1-CEILING MOUNTING XXX-W | https://lumenwerx.com/en/product-line/via-perimeter/ | https://lumenwerx.com/en/product-line/via-perimeter/ | https://lumenwerx.com/en/product-line/via-perimeter/ | Private Office
| wall grazer (dim to warm) | LUMENWERX ¦ V3PERS-HLO-LED-90-LUMENS-SOLA-LENGTH-UNV-0-10V-1-CEILING MOUNTING XXX-W | https://lumenwerx.com/en/product-line/via-perimeter/ | https://lumenwerx.com/en/product-line/via-perimeter/ | https://lumenwerx.com/en/product-line/via-perimeter/ | Private Office
| round wall wash (warm dimming) | LIGHTHEADED ¦ 2-112-T-FINISH-BDY40-35-LUMENS | https://lightheadedlighting.com/assets/product-series/Round-Wall-Wash/Product-Spec-Sheet/2-112-T-Round-Wall-Wash-Health-LED-Specs.pdf | https://lightheadedlighting.com/product/round-wall-wash/round-wall-wash-bro/ | no BIM files | Private Office
| indirect/direct cylinder (static white) | METEOR ¦ OR4-WATTS-CCT-UNV-STV-BEAM-FINISH-TRIM FINISH-MOUNTING | https://www.meteor-lighting.com/media/METEOR-Orion-4-Specification_-_BIOS_k2GdMv2.pdf | https://www.meteor-lighting.com/bios | https://www.meteor-lighting.com/bios | High Ceiling Open Office
| direct/indirect cylinder (static white) | ALW ¦ CORE-SIZE-CX-P-N-DIMMING-D-OUTPUT-BD-CCT | https://alwusa.com/wp-content/uploads/2019/12/CORE-BIOS-Specification-7-8-20.pdf | https://alwusa.com/products/core-cx/ | https://alwusa.com/products/core-cx/ | High Ceiling Open Office
| round cylinders (dim to warm) | LIGHTHEADED ¦ C3P-R-LENGTH-FINISH-XXX-BEAM-CCT-LUMENS-DIMMING-120-MOUNTING | https://lightheadedlighting.com/assets/product-series/LED-PIPE-3-Round-Fixed-Pendant/Product-Spec-Sheet/C3PR-3in-Round-Fixed-Pendant-Standard-LED-Specs.pdf | https://lightheadedlighting.com/product/led-pipe-3-round-fixed-pendant/led-pipe-3-round-fixed-pendant-bro/ | no BIM files | High Ceiling Open Office
| dynamic spectrum tunable lamp | KETRA ¦ CM-A20-LUMENS-BEAM-11E26-WH | https://www.ketra.com/hubfs/Active%20PDFs/Athena%20Update%20Spec%20Sheets/A20_Spec_3662386e.pdf | https://www.ketra.com/led-lighting-products/lamps/a20 | no BIM files | Wellness Room
| decorative post top (static white) | KIM LIGHTING ¦ UR2X-XXX-XXX-XXX-UNV | https://hubbellcdn.com/specsheet/kl_ur20post_spec.pdf | https://www.hubbell.com/kimlighting/en/Products/Lighting-Controls/Commercial-Outdoor-Lighting/Area-Site-Roadway/Ouro-Family/p/2494770 | no BIM files | Site / Area
| customizable bollard (static white or RGBW) | KIM LIGHTING ¦ PA7X-XXX-XXX-XXX-XXX-XXX-XXX-XXX-UNV | https://hubbellcdn.com/specsheet/kl_pa7r_spec.pdf | https://www.hubbell.com/kimlighting/en/Products/Lighting-Controls/Commercial-Outdoor-Lighting/Bollards/Pavilion-Family/p/2528485 | https://www.hubbell.com/kimlighting/en/Products/Lighting-Controls/Commercial-Outdoor-Lighting/Bollards/Pavilion-Family/p/2528485 | Site / Area
| decorative pole mount (static white) | AAL ¦ K5X-XXX-XXX-XXX-XXX-XXX-VOLT-XXX-XXX-XXX | https://hubbellcdn.com/specsheet/aal_k5_spec.pdf | https://www.hubbell.com/architecturalarealighting/en/Products/Lighting-Controls/Commercial-Outdoor-Lighting/Decorative-Post-Top/KicK-Medium/p/220814 | https://www.hubbell.com/architecturalarealighting/en/Products/Lighting-Controls/Commercial-Outdoor-Lighting/Decorative-Post-Top/KicK-Medium/p/220814 | Site / Area
| illuminated bench (static white or RGB) | HESS ¦ PS700-LED-CCT-UNV-120-277V-R-XXX | https://www.hessamerica.com/Products/Lighting/Illuminated_Bench/POSITANO/?variant=2576289179019 | https://www.hessamerica.com/Products/Lighting/Illuminated_Bench/POSITANO/?variant=2576289179019 | no BIM files | Site / Area