[image: image1.jpg]Forms+ CSI SPECIFICATIONS
Surfaces CYRCA BOLLARD






DIVISION 26 00 00




ELECTRICAL





SECTION 26 50 00 



LIGHTING

SECTION 26 56 00 



EXTERIOR LIGHTING

CYRCA BOLLARD

Part 1

General

1.01 Summary

A. Section Includes: 
1. Cyrca Bollard, Series 600, 6.25" diameter column, illuminated

2. Cyrca Bollard, Series 600, 6.25" diameter column, non-illuminated

3. Cyrca Bollard, Series 900, 9.25" diameter column, illuminated
4. Cyrca Bollard, Series 900, 9.25" diameter column, non-illuminated

1.02 Submittals

A. Provide submittals in accordance with Section 01 33 00 – Submittal Procedures.

B. Product data: Manufacturer’s standard data sheets on each product to be used, including:
1. Manufacturer’s standard product literature.
2. Shop drawings.
3. Installation instructions.
4. Maintenance instructions.
C. Submit finish samples for approval.
1.03 Quality Assurance

A. Manufacturer Qualifications:
1. Minimum 15 years experience in the manufacture of outdoor lighting.
2. Provide reference list of at least ten major transportation authorities, municipalities, universities, or
other high-use public environments currently using outdoor lighting fabricated by the manufacturer.
1.04 Delivery, Storage and Handling
A. Handle products in accordance with manufacturer’s instructions.

B. Store products in manufacturer’s original packaging until ready for installation.

C. Protect products from impacts and abrasion during storage.

1.05 Warranty

A. Provide manufacturer’s standard warranty:
1. Warranty terms: three years from date of invoice against defects in materials and workmanship.
Part 2

Products

2.01 Manufacturer

A. Basis-of-design product: provide bollards based on the product named. 

1. Cyrca Bollard by Forms+Surfaces

2. Manufacturer Contact:
Forms+Surfaces
1901 William Flynn Highway 
Glenshaw, PA 15116

phone: 800-451-0410

fax: 412-385-4715
email: sales@forms-surfaces.com
website: www.forms-surfaces.com
B. Bollards

1. Materials:
a. Body: Stainless steel with Ceramiloc treatment.
b. Base: Aluminum.
c. Cap: Stainless steel casting.
1) Cap options (Select one option below):
A) Standard

B) Doric

C) Flare

D) Rift
d. Lens: .375" thick frosted acrylic.
e. LED Driver: Input voltage is 120-277 VAC nominal. Includes constant output current, with over-voltage, short circuit, overload protection, and has forward-phase, reverse-phase, and 0-10V dimming capabilities. Certifications include: IP64 enclosure, and Class 2 rated output (UL8750).
f. LED Light Engine (for illuminated bollards):
1) 360° Light Distribution:
A) 10W custom LED light engine.

B) Luminaire lumens (Select one lumen output below):
a. Series 600, 38 lumens.
b. Series 900, 65 lumens.
C) Color temperature (Select one color temperature below):
a. 3,000K.
b. 4,000K.
2. 
Finishes:

a. 
Body and Head Cap (Select one option below):
1) Satin with Ceramiloc treatment.

2) Polyester powdercoat 

A) Standard Texture/Gloss from Forms+Surfaces Powdercoat Chart.

B) Custom RAL powdercoat color.

4. Dimensions (Select one option below):
a. Series 600, 40” high x 6” diameter.

b. Series 900, 40" high x 9.25" diameter.
5. Mounting (Select one option below):
a. Standard:

1) Surface mount with J-bolts. Stainless steel mounting hardware sold separately. Templates available upon request. 

b. Optional: 
1) Series 600, S10-P1 Embedded Deep Set Security Core. 

2) Series 600, SC30-P1 Embedded Shallow Mount Security Core.

3) Series 900, M30-P1 Embedded Deep Set Security Core.

4) Series 900, M30-P1 Embedded Shallow Mount Security Core.

Part 3

Execution

3.01 Examination

A. Verify that substrates are stable and capable of supporting the weight of items covered under this section.
B. Verify that substrates have been adequately prepared to securely anchor those items that will be surface
mounted.
3.02 Installation

A. Install according to the manufacturer’s installation instructions.
B. Install in conformance to applicable ADA guidelines and End User’s established accessibility policies.
END OF SECTION
[image: image2.jpg]T1.800.451.0410 | F 412.385.4715 | www.forms-surfaces.com

© 2025 Forms+Surfaces® | All dimensions are nominal. Specifications and pricing subject to change without notice. For the most current version of this document, please refer to our website at www.forms-surfaces.com.




Page 3 of 3 | Rev. 12.11.25 

[image: image1.jpg][image: image2.jpg]