DIVISION 12 00 00					FURNISHINGS

SECTION 12 93 00					SITE FURNISHINGS

SECTION 12 93 43					SITE SEATING AND TABLES

SECTION 12 93 43.13			SITE SEATING

RATIO BENCH

Part 1		General

- Summary

  - Section Includes:

    - Backed benches with cast aluminum frame and formed stainless steel seat.

    - Backless benches with cast aluminum frame and formed stainless steel seat.

- Submittals

  - Provide submittals in accordance with Section 01 33 00 – Submittal Procedures.

  - Product data:

    - Manufacturer’s standard product literature.

    - Shop drawings.

    - Installation instructions.

    - Maintenance instructions.

  - Submit powdercoat finish samples for approval.

- Quality Assurance

  - Manufacturer Qualifications:

    - Minimum 15 years experience in the manufacture of site seating.

    - Provide reference list of at least ten major transportation authorities, municipalities, universities, or other high-use public environments currently using site seating fabricated by the manufacturer.

- Delivery, Storage and Handling

  - Handle products in accordance with manufacturer’s instructions.

  - Store products in manufacturer’s original packaging until ready for installation.

  - Protect products from impacts and abrasion during storage.

- Warranty

  - Provide manufacturer’s standard warranty:

    - Warranty terms: three years from date of invoice against defects in materials and workmanship.

Part 2		Products

- Manufacturer

  - Basis-of-design product: 	provide backed and/or backless benches based on the product named:

    - Ratio Bench by Forms+Surfaces.

    - Manufacturer Contact:
Forms+Surfaces
1901 William Flynn Highway 
Glenshaw, PA 15116
phone: 800-451-0410

fax: 412-385-4715

email: sales@forms-surfaces.com

website: www.forms-surfaces.com

  - Backed and Backless Benches

    - Materials:

      - Bench frames: corrosion-resistant solid formed aluminum with integral armrests.

      - Seats: formed stainless steel, 2mm (nom. 14 gauge) thickness with .25" x .90" obround perforations applied in an offset pattern.

      - Fasteners: stainless steel.

    - Finishes:

      - Bench frames: polyester powdercoat (Select one option below):

        - Standard Texture/Gloss from Forms+Surfaces Powdercoat Chart.

        - Custom RAL powdercoat color.

      - Seats:

        - Uncoated stainless steel finish (Choose one finish below):

            - Sandstone.

            - Satin.

        - Powdercoat color (Select one option below):

            - Standard Texture/Gloss from Forms+Surfaces Powdercoat Chart.

            - Custom RAL powdercoat color.

    - Dimensions (Select model below):

      - Backed bench: 77" long x 24.25" deep x 32.75" high. Seat height 16.875", seat depth 17.625", armrest height 26.125".

      - Backless bench: 77.82" long x 18" deep x 23.85" high. Seat height 17.375", seat depth 17.76", armrest height 23.85".

    - Mounting:

      - Freestanding.

      - Surface mount. Stainless steel anchors and mounting bolts are sold separately.

Part 3		Execution

- Examination

  - Verify that substrates are stable and capable of supporting the weight of items covered under this section.

  - Verify that substrates have been adequately prepared to securely anchor those items that will be surface mounted.

- Installation

  - Install according to the manufacturer’s installation instructions.

  - Install in conformance to applicable ADA guidelines and End User’s established Accessibility policies.

END OF SECTION