DIVISION 12 00 00 				FURNISHINGS

SECTION 12 93 00 				SITE FURNISHINGS

SECTION 12 93 43 				SITE SEATING AND TABLES

SECTION 12 93 43.13 		SITE SEATING

CORDIA BENCH

Part 1		General

- Summary

  - Section Includes:

    - Backed bench, 6 foot, aluminum frame, FSC 100% Cumaru hardwood slats.

    - Backless bench, 6 foot, aluminum frame, FSC 100% Cumaru hardwood slats.

    - Backed bench, 6 foot, aluminum frame, extruded aluminum slats.

    - Backless bench, 6 foot, aluminum frame, extruded aluminum slats.

- Submittals

  - Provide submittals in accordance with Section 01 33 00 – Submittal Procedures.

  - Product data:

    - Manufacturer’s standard product literature.

    - Shop drawings.

    - Installation instructions.

    - Maintenance instructions.

  - Submit powdercoat finish samples for approval.

- Quality Assurance

  - Manufacturer Qualifications:

    - Minimum 15 years experience in the manufacture of site seating.

    - Forest Stewardship Council (FSC) Certified Supplier. Provide manufacturer’s FSC certification number.

    - Provide reference list of at least ten major transportation authorities, municipalities, universities, or

other high-use public environments currently using site seating fabricated by the manufacturer.

- Delivery, Storage and Handling

  - Handle products in accordance with manufacturer’s instructions.

  - Store products in manufacturer’s original packaging until ready for installation.

  - Protect products from impacts and abrasion during storage.

- Warranty

  - Provide manufacturer’s standard warranty:

    - Warranty terms: three years from date of invoice against defects in materials and workmanship.

Part 2		Products

- Manufacturer

  - Basis-of-design product: provide backed and/or backless benches based on the product named:

1.	Cordia Bench by Forms+Surfaces.

2.	Manufacturer Contact:
Forms+Surfaces
1901 William Flynn Highway 
Glenshaw, PA 15116
phone: 800-451-0410

fax: 412-385-4715

email: sales@forms-surfaces.com

website: www.forms-surfaces.com

  - Benches

    - Materials:

      - Bench frame: aluminum with integral armrests.

      - Bench slats (Choose one below):

        - FSC 100% Cumaru hardwood (FSC License Code: FSC-C004453).

        - Extruded aluminum.

c.	Seat dividers: Cast aluminum (Optional)

1) 	Center seat divider.

2)		Intermediate seat divider.

    - Finishes

      - Bench frame: polyester powdercoat (Select one option below):

        - Standard Texture from Forms+Surfaces Powdercoat Chart.

        - Custom RAL powdercoat color.

      - Bench slats: (Choose one below):

        - Wood: Penofin® hardwood formula “Transparent Natural.”

        - Aluminum: Polyester powdercoat (Select one option below):

            - Standard Texture from Forms+Surfaces Powdercoat Chart.

            - Custom RAL powdercoat color.

c.	Seat Dividers: (Optional)

1)		Polyester powdercoat to match bench frame.

    - Dimensions (Choose model below):

      - Backed bench, six foot, freestanding

        - Overall dimensions: 72.6" long x 23.8" deep x 34.1" high.

        - Seat dimensions: 17" deep x 18.6" high.

        - Armrest height: 23.3".

      - Backless bench, six foot, freestanding

        - Overall dimensions: 72.5" long x 18.3" deep x 23.6" high.

        - Seat dimensions: 17" deep x 18.6" high.

        - Armrest height: 23.6".

      - Backed bench, six foot, surface mount

        - Overall dimensions: 72.5" long x 23.8" deep x 34.1" high.

        - Seat dimensions: 17" deep x 18.6" high.

        - Armrest height: 23.3".

      - Backless bench, six foot, surface mount

        - Overall dimensions: 72.5" long x 18.3" deep x 23.6" high.

        - Seat dimensions: 17" deep x 18.6" high.

        - Armrest height: 23.3".

    - Mounting: (Select one below):

      - Freestanding. Provide levelers.

      - Surface mount. Stainless steel anchors and mounting bolts sold separately.

Part 3		Execution

- Examination

  - Verify that substrates are stable and capable of supporting the weight of items covered under this section.

  - Verify that substrates have been adequately prepared to securely anchor those items that will be surface

mounted.

- Installation

  - Install according to the manufacturer’s installation instructions.

  - Install in conformance to applicable ADA guidelines and End User’s established Accessibility policies.

END OF SECTION