DIVISION 26 00 00					ELECTRICAL

SECTION 26 50 00 				LIGHTING

SECTION 26 56 00 				EXTERIOR LIGHTING

VAO PEDESTRIAN LIGHTING

Part 1		General

- Summary

  - Section Includes:

    - Vao Pedestrian Lighting.

- Submittals

  - Provide submittals in accordance with Section 01 33 00 – Submittal Procedures.

  - Product data:

    - Manufacturer’s standard product literature.

    - Shop drawings.

    - Installation instructions.

    - Maintenance instructions.

- Quality Assurance

  - Manufacturer Qualifications:

    - Minimum 15 years experience in the manufacture of outdoor lighting.

    - Provide reference list of at least ten major transportation authorities, municipalities, universities, or

other high-use public environments currently using outdoor lighting fabricated by the manufacturer.

- Delivery, Storage and Handling

  - Handle products in accordance with manufacturer’s instructions.

  - Store products in manufacturer’s original packaging until ready for installation.

  - Protect products from impacts and abrasion during storage.

- Warranty

  - Provide manufacturer’s standard warranty.

    - Warranty terms: three years from date of invoice against defects in materials and workmanship.

Part 2		Products

- Manufacturer:

  - Basis-of-design product: provide pedestrian lighting based on the product named:

    - Vao Pedestrian Lighting by Forms+Surfaces.

    - Manufacturer Contact:
Forms+Surfaces
30 Pine Street
Pittsburgh, PA 15223
phone: 800-451-0410

fax: 412-385-4715

email: sales@forms-surfaces.com

website: www.forms-surfaces.com

  - Pedestrian Lighting

    - Materials

      - Body: stainless steel.

      - Lens: .118" thick clear-frosted acrylic.

      - Driver (3000K, 4000K): Input power is 100-277 V. Includes high efficiency constant output current with over-voltage, short circuit, overload protection, and has 0-10V dimming capabilities. Certifications include: IP67 (waterproof) enclosure and Class 2 rated output. DarkSky Approved for 3000K.

      - LED light engine (for illuminated bollards) (Choose one below):

        - 90W custom LED light engine

            - Luminaire lumens: 3529

            - Color temperature: (Choose one color temperature below):

              - 3,000K.

              - 4,000K.

    - Finish:

      - Stainless steel with Satin finish and Ceramiloc treatment.

      - Polyester Powdercoat (Choose one color option below):

        - Standard Texture/Gloss from Forms+Surfaces Powdercoat Chart.

        - Custom RAL Powdercoat color.

    - Dimensions (Select model(s) below):

      - 145.77" high x 26" top x 4" pole

5" diameter x 132.5" high.

    - Mounting: (Choose one below):

      - Surface Mount

      - Low Profile

Stainless steel hardware sold separately. Template available upon request.

Part 3		Execution

- Examination

  - Verify that substrates are stable and capable of supporting the weight of items covered under this section.

  - Verify that substrates have been adequately prepared to securely anchor those items that will be surface

mounted.

- Installation

  - Install according to the manufacturer’s installation instructions.

  - Install in conformance to applicable ADA guidelines and End User’s established Accessibility policies.

END OF SECTION