DIVISION 12 00 00					FURNISHINGS

SECTION 12 93 00					SITE FURNISHINGS

SECTION 12 93 43					SITE SEATING AND TABLES

SECTION 12 93 43.13			SITE SEATING

DUO TABLE ENSEMBLE

Part 1		General

- Summary

  - Section Includes:

    - Bar Table with FSC 100% Cumaru hardwood slats

    - Bar Table with FSC Mix Credit Thermally Modified Red Oak slats

    - Table with FSC 100% Cumaru hardwood slats

    - Table with FSC Mix Credit Thermally Modified Red Oak slats

    - Table Ensemble with FSC 100% Cumaru hardwood slats

    - Table Ensemble with FSC Mix Credit Thermally Modified Red Oak slats

    - Table Ensemble, ADA option with FSC 100% Cumaru hardwood slats

    - Table Ensemble, ADA option with FSC Mix Credit Thermally Modified Red Oak slats

- Submittals

  - Provide submittals in accordance with Section 01 33 00 – Submittal Procedures.

  - Product data:

    - Manufacturer’s standard product literature.

    - Shop drawings.

    - Installation instructions.

    - Maintenance instructions.

  - Submit powdercoat finish samples for approval.

- Quality Assurance

  - Manufacturer Qualifications:

    - Minimum 15 years experience in the manufacture of site furniture.

    - FSC Certified Supplier. Provide manufacturer’s FSC certification number.

    - Provide reference list of at least ten major transportation authorities, municipalities, universities, or other high-use public environments currently using site seating fabricated by the manufacturer.

- Delivery, Storage and Handling

  - Handle products in accordance with manufacturer’s instructions.

  - Store products in manufacturer’s original packaging until ready for installation.

  - Protect products from impacts and abrasion during storage.

- Warranty

  - Provide manufacturer’s standard warranty.

    - Warranty terms: three years from date of invoice against defects in materials and workmanship.

Part 2		Products

- Manufacturer

  - Basis-of-design product: 	provide tables & ensembles based on the product named:

    - Duo Tables & Ensembles by Forms+Surfaces.

    - Manufacturer Contact:
Forms+Surfaces
1901 William Flynn Highway 
Glenshaw, PA 15116
phone: 800-451-0410

fax: 412-385-4715

email: sales@forms-surfaces.com

website: www.forms-surfaces.com

  - Tables & Ensembles

    - Materials:

      - Table & bench frames: rectangular stainless steel tube.

      - Wood slats (Select one option below):

        - FSC 100% Cumaru hardwood.

        - FSC Mix Credit Thermally Modified Red Oak.

      - Fasteners: stainless steel.

      - Pads (for freestanding models): neoprene.

    - Finishes:

      - Frames: (Select one option below):

        - Polished

        - Polyester powdercoat:

            - Standard Texture from Forms+Surfaces Powdercoat Chart.

            - Custom RAL powdercoat color.

      - Slats: Penofin® hardwood formula, “Transparent Natural.”

    - Dimensions (Choose model below):

      - Bar Table (table only): 91.6" long x 30" deep x 40.6" high.

      - Table (table only): 91.6" long x 40" deep x 30.1" high.

      - Table Ensemble (set): 91.6" long x 84" deep x 30.1" high.

      - Table Ensemble (set with ADA option): 91.6" long x 84" deep x 30.1" high.

      - Table Ensemble (bench): 70.9" long x 18" deep x 17.1" high.

      - Table Ensemble (ADA bench): 48" long x 18" deep x 17.1" high.

    - Weight:

      - Bar Table (table only): 309 lbs (Cumaru), 236.5 lbs (Thermally Modified Red Oak)

      - Table (table only): 341.7 lbs (Cumaru), 252.5 lbs (Thermally Modified Red Oak)

      - Table Ensemble (set): 578 lbs (Cumaru), 441 lbs (Thermally Modified Red Oak)

      - Table Ensemble, ADA option (set): 594 lbs (Cumaru), 375.6 lbs (Thermally Modified Red Oak)

      - Table Ensemble (bench): 118 lbs (Cumaru), 94.6 lbs (Thermally Modified Red Oak)

      - Table Ensemble (ADA bench): 89.2 lbs (Cumaru), 73.3 lbs (Thermally Modified Red Oak)

    - Umbrella hole: (Select one option below):

      - No umbrella hole

      - Umbrella hole to receive a 1.75"-2" diameter umbrella pole. Nylon collar and cap are included.

    - Mounting (Choose one below):

      - Freestanding.

      - Surface mount. Stainless steel anchors and mounting bolts are sold separately.

Part 3		Execution

- Examination

  - Verify that substrates are stable and capable of supporting the weight of items covered under this section.

  - Verify that substrates have been adequately prepared to securely anchor those items that will be surface mounted.

- Installation

  - Install according to the manufacturer’s installation instructions.

  - Install in conformance to applicable ADA guidelines and End User’s established accessibility policies.

END OF SECTION