DIVISION 12 00 00 				FURNISHINGS

SECTION 12 93 00 				SITE FURNISHINGS

SECTION 12 93 43 				SITE SEATING AND TABLES

SECTION 12 93 43.13 		SITE SEATING

VECTOR SEATING SYSTEM

Part 1		General

- Summary

  - Section Includes:

    - 2 foot, FSC 100% Cumaru hardwood slats, standalone, no seat backs

    - 2 foot, FSC 100% Cumaru hardwood slats, standalone, one seat back

    - 2 foot, FSC 100% Cumaru hardwood slats, one end leg, one intermediate leg, no seat backs

    - 2 foot, FSC 100% Cumaru hardwood slats, one intermediate leg, no seat backs

    - 2 foot, FSC 100% Cumaru hardwood slats, one end leg, no seat backs

    - 2 foot, FSC 100% Cumaru hardwood slats, wall-mounted, no seat backs

    - 2 foot, FSC 100% Cumaru hardwood slats, wall-mounted, one seat back

    - 2 foot, aluminum slats, standalone, no seat backs

    - 2 foot, aluminum slats, standalone, one seat back

    - 2 foot, aluminum slats, one intermediate leg, one end leg, no seat backs

    - 2 foot, aluminum slats, one intermediate leg, no seat backs

    - 2 foot, aluminum slats, one end leg, no seat backs

    - 2 foot, aluminum slats, wall-mounted, no seat backs

    - 2 foot, aluminum slats, wall-mounted, one seat back

    - 4 foot, FSC 100% Cumaru hardwood slats, standalone, no seat backs

    - 4 foot, FSC 100% Cumaru hardwood slats, standalone, two seat backs

    - 4 foot, FSC 100% Cumaru hardwood slats, one end leg, one intermediate leg, no seat backs

    - 4 foot, FSC 100% Cumaru hardwood slats, one intermediate leg, no seat backs

    - 4 foot, FSC 100% Cumaru hardwood slats, one end leg, no seat backs

    - 4 foot, FSC 100% Cumaru hardwood slats, wall-mounted, no seat backs

    - 4 foot, FSC 100% Cumaru hardwood slats, wall-mounted, two seat backs

    - 4 foot, aluminum slats, standalone, no seat backs

    - 4 foot, aluminum slats, standalone, two seat backs

    - 4 foot, aluminum slats, one intermediate leg, one end leg, no seat backs

    - 4 foot, aluminum slats, one intermediate leg, no seat backs

    - 4 foot, aluminum slats, one end leg, no seat backs

    - 4 foot, aluminum slats, wall-mounted, no seat backs

    - 4 foot, aluminum slats, wall-mounted, two seat backs

    - 6 foot, FSC 100% Cumaru hardwood slats, standalone, no seat backs

    - 6 foot, FSC 100% Cumaru hardwood slats, standalone, three seat backs

    - 6 foot, FSC 100% Cumaru hardwood slats, one end leg, one intermediate leg, no seat backs

    - 6 foot, FSC 100% Cumaru hardwood slats, one intermediate leg, no seat backs

    - 6 foot, FSC 100% Cumaru hardwood slats, one end leg, no seat backs

    - 6 foot, FSC 100% Cumaru hardwood slats, wall-mounted, no seat backs

    - 6 foot, FSC 100% Cumaru hardwood slats, wall-mounted, three seat backs

    - 6 foot, aluminum slats, standalone, no seat backs

    - 6 foot, aluminum slats, standalone, three seat backs

    - 6 foot, aluminum slats, one intermediate leg, one end leg, no seat backs

    - 6 foot, aluminum slats, one intermediate leg, no seat backs

    - 6 foot, aluminum slats, one end leg, no seat backs

    - 6 foot, aluminum slats, wall-mounted, no seat backs

    - 6 foot, aluminum slats, wall-mounted, three seat backs

    - 8 foot, FSC 100% Cumaru hardwood slats, standalone, no seat backs

    - 8 foot, FSC 100% Cumaru hardwood slats, standalone, four seat backs

    - 8 foot, FSC 100% Cumaru hardwood slats, one end leg, one intermediate leg, no seat backs

    - 8 foot, FSC 100% Cumaru hardwood slats, one intermediate leg, no seat backs

    - 8 foot, FSC 100% Cumaru hardwood slats, one end leg, no seat backs

    - 8 foot, FSC 100% Cumaru hardwood slats, wall-mounted, no seat backs

    - 8 foot, FSC 100% Cumaru hardwood slats, wall-mounted, four seat backs

    - 8 foot, aluminum slats, standalone, no seat backs

    - 8 foot, aluminum slats, standalone, four seat backs

    - 8 foot, aluminum slats, one intermediate leg, one end leg, no seat backs

    - 8 foot, aluminum slats, one intermediate leg, no seat backs

    - 8 foot, aluminum slats, one end leg, no seat backs

    - 8 foot, aluminum slats, wall-mounted, no seat backs

    - 8 foot, aluminum slats, wall-mounted, four seat backs

    - 120° A, FSC 100% Cumaru hardwood slats, one end leg, no seat backs

    - 120° A, FSC 100% Cumaru hardwood slats, one intermediate leg, no seat backs

    - 120° A, aluminum slats, one end leg, no seat backs

    - 120° A, aluminum slats, one intermediate leg, no seat backs

    - 120° B, FSC 100% Cumaru hardwood slats, one end leg, no seat backs

    - 120° B, FSC 100% Cumaru hardwood slats, one intermediate leg, no seat backs

    - 120° B, aluminum slats, one end leg, no seat backs

    - 120° B, aluminum slats, one intermediate leg, no seat backs

    - Tri-hub, 120° A, FSC 100% Cumaru hardwood slats, three end legs, no seat backs

    - Tri-hub, 120° A, aluminum slats, three end legs, no seat backs

    - Tri-hub, 120° B, FSC 100% Cumaru hardwood slats, three end legs, no seat backs

    - Tri-hub, 120° B, aluminum slats, three end legs, no seat backs

    - Oblique A, FSC 100% Cumaru hardwood slats, four end legs, no seat backs

    - Oblique A, aluminum slats, four end legs, no seat backs

    - Planter, 14 gallon, stainless steel side panels, standalone

    - Planter, 14 gallon, stainless steel side panels, one end leg, one intermediate leg

    - Planter, 14 gallon, stainless steel side panels, two intermediate legs

- Submittals

  - Provide submittals in accordance with Section 01 33 00 – Submittal Procedures.

  - Product data:

    - Manufacturer’s standard product literature.

    - Shop drawings.

    - Installation instructions.

    - Maintenance instructions.

  - Submit powdercoat finish samples for approval.

- Quality Assurance

  - Manufacturer Qualifications:

    - Minimum 15 years experience in the manufacture of site seating.

    - Forest Stewardship Council (FSC ) Certified Supplier. Provide manufacturer’s FSC certification number.

    - Provide reference list of at least ten major transportation authorities, municipalities, universities, or

other high-use public environments currently using site seating fabricated by the manufacturer.

- Delivery, Storage and Handling

  - Handle products in accordance with manufacturer’s instructions.

  - Store products in manufacturer’s original packaging until ready for installation.

  - Protect products from impacts and abrasion during storage.

- Warranty

  - Provide manufacturer’s standard warranty:

    - Warranty terms: three years from date of invoice against defects in materials and workmanship.

Part 2		Products

- Manufacturer

  - Basis-of-design product: provide backed and/or backless benches based on the product named:

1.	Vector Seating System by Forms+Surfaces.

2.	Manufacturer Contact:
Forms+Surfaces
1901 William Flynn Highway 
Glenshaw, PA 15116
phone: 800-451-0410

fax: 412-385-4715

email: sales@forms-surfaces.com

website: www.forms-surfaces.com

  - Benches

    - Materials:

      - Bench frame: aluminum.

      - Bench slats (Choose one below):

        - FSC 100% Cumaru hardwood (FSC  License Code: FSC-C004453).

        - Extruded aluminum.

c.	 Intermediate and end seat dividers: cast aluminum (Optional)

d.	 Seat backs: aluminum (Optional)

e.   Side panels	(Optional)

1)		Stainless steel side panels

    - Finishes

      - Bench frame: polyester powdercoat (Select one option below):

        - Standard Texture from Forms+Surfaces Powdercoat Chart.

        - Custom RAL powdercoat color.

      - Bench slats: (Choose one below):

        - Wood: Penofin® hardwood formula “Transparent Natural.”

        - Aluminum: Polyester powdercoat (Select one option below):

            - Standard Texture from Forms+Surfaces Powdercoat Chart.

            - Custom RAL powdercoat color.

      - Seat dividers: (Optional)

1)		Polyester powdercoat to match bench frame.

      - Seat backs: (Optional)

        - Polyester powdercoat to match bench frame.

      - Side Panels: (Select one option below (Optional))

        - Polyester powdercoat (Select one option below):

            - Standard Texture from F+S Powdercoat Chart

            - Custom RAL powdercoat color.

        - Stainless steel finish (Choose one below):

1.   Diamond, stainless steel.

2.   Sandstone, stainless steel.

3.   Satin, stainless steel.

    - Patterns

      - Optional Side Panels (Choose one below):

            - No perforation

            - Rainfall perforation

    - LED Accent Lighting (Choose one color temperature below (Optional)):

      - 3000K

      - 4000K

    - Dimensions (Choose model below):

      - 2 foot, standalone, no seat back

        - Overall dimensions: 25.7” long, 16.9” deep, 17.5” high.

      - 2 foot, standalone, one seat back

        - Overall dimensions: 25.7” long, 16.9” deep, 29.5” high

      - 2 foot, one end leg, one intermediate leg, no seat back

        - Overall dimensions: 25.7” long, 16.9” deep, 17.5” high

      - 2 foot, one intermediate leg, no seat back

        - Overall dimensions: 23.4” long, 16.9” deep, 17.5” high

      - 2 foot, one end leg, no seat back

        - Overall dimensions: 23.4” long, 16.9” deep, 17.5” high

      - 2 foot, wall-mounted, no seat back

        - Overall dimensions: 25.8” long, 16.9” deep, 1.5” high.

      - 2 foot, wall-mounted, one seat back

        - Overall dimensions: 25.8” long, 16.9” deep, 13.5” high

      - 4 foot, standalone, no seat backs

        - Overall dimensions: 49.1” long, 16.9” deep, 17.5” high

      - 4 foot, standalone, two seat backs

        - Overall dimensions: 49.1” long, 16.9” deep, 29.5” high

      - 4 foot, one end leg, one intermediate leg, no seat backs

        - Overall dimensions: 49.1” long, 16.9” deep, 17.5” high

      - 4 foot, one intermediate leg, no seat backs

        - Overall dimensions: 46.8” long, 16.9” deep, 17.5” high

      - 4 foot, one end leg, no seat backs

        - Overall dimensions: 46.8” long, 16.9” deep, 17.5” high

      - 4 foot, wall-mounted, no seat backs

        - Overall dimensions: 49.2” long, 16.9” deep, 1.5” high

      - 4 foot, wall-mounted, two seat backs

        - Overall dimensions: 49.2” long, 16.9” deep, 13.5” high

      - 6 foot, standalone, no seat backs

        - Overall dimensions: 72.5” long, 16.9” deep, 17.5” high

      - 6 foot, standalone, three seat backs

        - Overall dimensions: 72.5” long, 16.9” deep, 29.5” high

      - 6 foot, one end leg, one intermediate leg, no seat backs

        - Overall dimensions: 72.5” long, 16.9” deep, 17.5” high

      - 6 foot, one intermediate leg, no seat backs

        - Overall dimensions: 70.3” long, 16.9” deep, 17.5 high

      - 6 foot, one end leg, no seat backs

        - Overall dimensions: 70.3” long, 16.9” deep, 17.5” high

      - 6 foot, wall-mounted, no seat backs

        - Overall dimensions: 72.6” long, 16.9” deep, 1.5” high

      - 6 foot, wall-mounted, two seat backs

        - Overall dimensions: 72.6” long, 16.9” deep, 13.5” high

      - 8 foot, standalone, no seat backs

        - Overall dimensions: 95.9” long, 16.9” deep, 17.5” high

      - 8 foot, standalone, four seat backs

        - Overall dimensions: 95.9” long, 16.9” deep, 29.5” high

      - 8 foot, one end leg, one intermediate leg, no seat backs

        - Overall dimensions: 95.9” long, 16.9” deep, 17.5” high

      - 8 foot, one intermediate leg, no seat backs

        - Overall dimensions: 93.7” long, 16.9” deep, 17.5” high

      - 8 foot, one end leg, no seat backs

        - Overall dimensions: 93.7” long, 16.9” deep, 17.5” high

      - 8 foot, wall-mounted, no seat backs

        - Overall dimensions: 96” long, 16.9” deep, 1.5” high

      - 8 foot, wall-mounted, two seat backs

        - Overall dimensions: 96” long, 16.9” deep, 13.5” high

      - 120° A, one end leg, no seat backs

        - Overall dimensions: 43.2” long, 16.9” deep, 17.5” high

      - 120° A, one intermediate leg, no seat backs

        - Overall dimensions: 43.2” long, 16.9” deep, 17.5” high

      - 120° B, one end leg, no seat backs

        - Overall dimensions: 43.2” long, 16.9” deep, 17.5” high

      - 120° B, one intermediate leg, no seat backs

        - Overall dimensions: 43.2” long, 16.9” deep, 17.5” high

      - Tri-hub, 120° A, three end legs, no seat backs

        - Overall dimensions: 64.5” long, 66” deep, 17.5” high

      - Tri-hub, 120° B, three end legs, no seat backs

        - Overall dimensions: 64.5” long, 66” deep, 17.5” high

      - Oblique A, four end legs, no seat backs

        - Overall dimensions: 95.9” long, 91.5” deep, 17.5” high

      - Planter, 14 gallon, standalone

        - Overall dimensions: 25.7” long, 16.9” deep, 17.5” high

      - Planter, 14 gallon, one end leg, one intermediate leg

        - Overall dimensions: 25.7” long, 16.9” deep, 17.5” high

      - Planter, 14 gallon, two intermediate legs

        - Overall dimensions: 25.7” long, 16.9” deep, 17.5” high

    - Mounting (Choose one below):

      - Freestanding.

      - Surface mount. Stainless steel anchors and mounting bolts are sold separately. (Required for benches with seat backs.)

      - Custom wall-top. Provide mounting hardware based on installation.

Part 3		Execution

- Examination

  - Verify that substrates are stable and capable of supporting the weight of items covered under this section.

  - Verify that substrates have been adequately prepared to securely anchor those items that will be surface

mounted.

- Installation

  - Install according to the manufacturer’s installation instructions.

  - Install in conformance to applicable ADA guidelines and End User’s established Accessibility policies.

END OF SECTION