DIVISION 12 00 00					FURNISHINGS

SECTION 12 93 00					SITE FURNISHINGS

SECTION 12 93 43					SITE SEATING AND TABLES

SECTION 12 93 43.13			SITE SEATING

APEX TABLE ENSEMBLE

Part 1		General

- Summary

  - Section Includes:

    - Table without benches, aluminum frame, aluminum slats.

    - Table without benches, aluminum frame, FSC® 100% Cumaru hardwood slats.

    - Table with two benches, aluminum frame, aluminum slats.

    - Table with two benches, aluminum frame, FSC® 100% Cumaru hardwood slats.

    - Table with three-bench ADA option, aluminum frame, aluminum slats.

    - Table with three-bench ADA option, aluminum frame, FSC® 100% Cumaru hardwood slats.

    - Table with four benches, aluminum frame, aluminum slats.

    - Table with four benches, aluminum frame, FSC® 100% Cumaru hardwood slats.

(FSC License Code: FSC-C004453)

- Submittals

  - Provide submittals in accordance with Section 01 33 00 – Submittal Procedures.

  - Product data:

    - Manufacturer’s standard product literature.

    - Shop drawings.

    - Installation instructions.

    - Maintenance instructions.

  - Submit powdercoat finish samples for approval.

- Quality Assurance

  - Manufacturer Qualifications:

    - Minimum 15 years experience in the manufacture of site seating.

    - Provide reference list of at least ten major transportation authorities, municipalities, universities, or other high-use public environments currently using site seating fabricated by the manufacturer.

- Delivery, Storage and Handling

  - Handle products in accordance with manufacturer’s instructions.

  - Store products in manufacturer’s original packaging until ready for installation.

  - Protect products from impacts and abrasion during storage.

- Warranty

  - Provide manufacturer’s standard warranty.

    - Warranty terms: three years from date of invoice against defects in materials and workmanship.

Part 2		Products

- Manufacturer

  - Basis-of-design product: 	provide table and benches based on the product named:

    - Apex Table Ensemble by Forms+Surfaces.

    - Manufacturer Contact:
Forms+Surfaces
1901 William Flynn Highway 
Glenshaw, PA 15116
phone: 800-451-0410

fax: 412-385-4715

email: sales@forms-surfaces.com

website: www.forms-surfaces.com

  - Table ensembles

    - Materials:

      - Frames: cast aluminum.

      - Table top(Select one option below):

        - Extruded aluminum slats.

        - FSC® 100% Cumaru hardwood slats.

      - Seats (Select one option below):

        - Extruded aluminum slats.

        - FSC® 100% Cumaru hardwood slats.

      - Fasteners: stainless steel.

    - Finishes:

      - Frames: polyester powdercoat (Select one option below):

        - Standard Texture from Forms+Surfaces Powdercoat Chart.

        - Custom RAL powdercoat color.

      - Table top and seats (Select one option below):

        - Aluminum slats: polyester powdercoat (Select one option below):

            - Standard Texture from Forms+Surfaces Powdercoat Chart.

            - Custom RAL powdercoat color

        - FSC® 100% Cumaru hardwood slats: Natural oiled finish.

    - Umbrella hole (Select one option below):

      - No umbrella hole

      - Umbrella hole to receive a 1.5" (38 mm) diameter umbrella pole. Nylon collar and cap are included.

    - Dimensions (Choose one model below):

      - Table: 48" long x 48" deep x 29" high.

      - Table and two benches: 84" long x 48" deep x 29" high.

        - Table: 48" long x 48" deep x 29" high.

        - Benches: 40" long x 16" deep x 17" high.

      - Table and three-bench ADA option: 84" long x 66" deep x 29" high.

        - Table: 48" long x 48" deep x 29" high.

        - Benches: 40" long x 16" deep x 17" high.

      - Table and four benches: 84" long x 84" deep x 29" high.

        - Table: 48" long x 48" deep x 29" high.

        - Benches: 40" long x 16" deep x 17" high.

    - Mounting:

      - Table: Surface mount. Provide anchors and stainless steel mounting hardware.

      - Benches (Select one option below):

        - Surface mount with narrow leg. Anchors and stainless steel mounting hardware sold separately.

        - Freestanding with square leg.

Part 3		Execution

- Examination

  - Verify that substrates are stable and capable of supporting the weight of items covered under this section.

  - Verify that substrates have been adequately prepared to securely anchor those items that will be surface mounted.

- Installation

  - Install according to the manufacturer’s installation instructions.

  - Install in conformance to applicable ADA guidelines and End User’s established Accessibility policies.

END OF SECTION