[image: image1.jpg]Forms+ CSI SPECIFICATIONS
Surfaces KNIGHT TABLE ENSEMBLE






DIVISION 12 00 00




FURNISHINGS

SECTION 12 93 00




SITE FURNISHINGS

SECTION 12 93 43




SITE SEATING AND TABLES

SECTION 12 93 43.13


SITE SEATING

















KNIGHT TABLE ENSEMBLE
Part 1

General

1.01 Summary

A. Section Includes:
1. Six-foot, backed table ensemble with aluminum frame and FSC 100% Cumaru hardwood slats.

2. Six-foot, backed table ensemble with aluminum frame and extruded aluminum slats.

3. Six-foot, backless table ensemble with aluminum frame and FSC 100% Cumaru hardwood slats.

4. Six-foot, backless table ensemble with aluminum frame and extruded aluminum slats.

5. Six-foot, backed table ensemble with ADA option, aluminum frame, and FSC 100% Cumaru hardwood slats.

6. Six-foot, backed table ensemble with ADA option, aluminum frame, and extruded aluminum slats.
7. Six-foot, backless table ensemble with ADA option, aluminum frame, and FSC 100% Cumaru hardwood slats.

8. Six-foot, backless table ensemble with ADA option, aluminum frame and extruded aluminum slats.
1.02 Submittals

A. Provide submittals in accordance with Section 01 33 00 – Submittal Procedures.

B. Product data:

1. Manufacturer’s standard product literature.

2. Shop drawings.

3. Installation instructions.

4. Maintenance instructions.

C. Submit powder coat finish samples for approval.

1.03 Quality Assurance

A. Manufacturer Qualifications:
1. Minimum 15 years experience in the manufacture of site furniture.

2. FSC Certified Supplier. Provide manufacturer’s FSC certification number.

3. Provide reference list of at least ten major transportation authorities, municipalities, universities, or other high-use public environments currently using site seating fabricated by the manufacturer.

1.04 Delivery, Storage and Handling
A. Handle products in accordance with manufacturer’s instructions.

B. Store products in manufacturer’s original packaging until ready for installation.

C. Protect products from impacts and abrasion during storage.

1.05 Warranty

A. Provide manufacturer’s standard warranty.
1. Warranty terms: three years from date of invoice against defects in materials and workmanship.
Part 2

Products

2.01 Manufacturer

A. Basis-of-design product: 
provide table ensembles based on the product named:
1. Knight Table Ensemble by Forms+Surfaces.

2. Manufacturer Contact:
Forms+Surfaces
1901 William Flynn Highway 
Glenshaw, PA 15116
phone: 800-451-0410

fax: 412-385-4715
email: sales@forms-surfaces.com 
website: www.forms-surfaces.com 
B. Table Ensemble
1. Materials:

a. Frames: solid aluminum.

2. Slats (Select one option below): 
a. FSC 100% Cumaru hardwood

b. Extruded aluminum slats
3. Fasteners: stainless steel.

4. Finishes:

a. Frames: polyester powder coat (Select one option below):
1) Standard Texture from Forms+Surfaces Powder coat Chart.
2) Custom RAL powder coat color.
b. Slats, wood: Penofin® hardwood formula, “Transparent Natural.”
c. Slats, metal: polyester powder coat (Select one option below):
1) Standard Texture from Forms+Surfaces Powder coat Chart.

2) Custom RAL powder coat color. 
5. Dimensions: 
a. Knight Table Ensemble, backed:

1) Knight Table Ensemble (set): 72" overall length, 84.1" overall depth, 31.1" overall height.
2) Knight Table Ensemble (bench): 72" length, 22.6" depth, 31.1" height.
3) Knight Table Ensemble (ADA bench): 36" length, 21.9" depth, 31.1" height.
4) Knight Table Ensemble (table): 72" length, 37" depth, 30.4" height.
b. Knight Table Ensemble, backless:

1) Knight Table Ensemble (set): 72" overall length, 78.3" overall depth, 30.4" overall height.
2) Knight Table Ensemble (bench): 72" length, 19.8" depth, 18" height.
3) Knight Table Ensemble (ADA bench): 36" length, 19.8" depth, 18" height.
4) Knight Table Ensemble (table): 72" length, 37" depth, 30.4" height.
6. Weight: 
a. Knight Table Ensemble, backed, Cumaru wood slats: 
1) Knight Table Ensemble: 392 lbs.

2) Knight Table Ensemble with ADA option: 356 lbs.

b. Knight Table Ensemble, backless, Cumaru wood slats: 

1) Knight Table Ensemble: 336 lbs.

2) Knight Table Ensemble with ADA option: 300 lbs.

c. Knight Table Ensemble, backed, extruded aluminum slats: 

1) Knight Table Ensemble: 484 lbs.

2) Knight Table Ensemble with ADA option: 424 lbs.

d. Knight Table Ensemble, backless, extruded aluminum slats: 

1) Knight Table Ensemble: 391lbs.

2) Knight Table Ensemble with ADA option: 350 lbs.
7. Mounting: 
1) Surface mount. Stainless steel anchors and mounting bolts are sold separately. 
Part 3

Execution

3.01 Examination

A. Verify that substrates are stable and capable of supporting the weight of items covered under this section.
B. Verify that substrates have been adequately prepared to securely anchor those items that will be surface mounted.
3.02 Installation

A. Install according to the manufacturer’s installation instructions.

B. Install in conformance to applicable ADA guidelines and End User’s established accessibility policies.
END OF SECTION
[image: image2.jpg]T1.800.451.0410 | F 412.385.4715 | www.forms-surfaces.com

© 2026 Forms+Surfaces® | All dimensions are nominal. Specifications and pricing subject to change without notice. For the most currentversion of this document, please refer to our website at www.forms-surfaces.com.




Page 2 of 3 | Rev. 01.08.2026

[image: image1.jpg][image: image2.jpg]