DIVISION 26 00 00					ELECTRICAL

TENZA CHARGING STATION

Part 1		General

- Summary

  - Section Includes:

    - Tenza Charging Station, 53", Stainless Steel/Satin with powdercoated aluminum shell, 1 garage

    - Tenza Charging Station, 53", Stainless Steel/Satin with powdercoated aluminum shell, 2 garages

    - Tenza Charging Station, 36", Stainless Steel/Satin, 1 garage

- Submittals

  - Provide submittals in accordance with Section 01 33 00 – Submittal Procedures.

  - Product data:

    - Manufacturer’s standard product literature.

    - Shop drawings.

    - Installation instructions.

    - Maintenance instructions.

- Quality Assurance

  - Manufacturer Qualifications:

    - Minimum 15 years experience in the manufacture of outdoor products.

    - Provide reference list of at least ten major transportation authorities, municipalities, universities, or

other high-use public environments currently using outdoor products fabricated by the manufacturer.

- Delivery, Storage and Handling

  - Handle products in accordance with manufacturer’s instructions.

  - Store products in manufacturer’s original packaging until ready for installation.

  - Protect products from impacts and abrasion during storage.

- Warranty

  - Provide manufacturer’s standard warranty.

    - Warranty terms: three years from date of invoice against defects in materials and workmanship.

Part 2		Products

- Manufacturer

  - Basis-of-design product: provide charging stations based on the product named.

    - Tenza Charging Station by Forms+Surfaces

    - Manufacturer Contact:
Forms+Surfaces
1901 William Flynn Highway 
Glenshaw, PA 15116
phone: 800-451-0410

fax: 412-385-4715

email: sales@forms-surfaces.com

website: www.forms-surfaces.com

  - Charging Stations:

    - Materials:

      - Charging Station Body:

        - Stainless Steel.

      - Shell (Select one option below):

        - 53" models:

            - Aluminum.

        - 36" models:

            - Stainless Steel.

    - Finish:

      - Body:

        - Satin.

      - Shell (Choose one option below):

        - 53" models (Choose one finish below):

            - Standard Texture from Forms+Surfaces Powdercoat Chart.

            - Custom RAL powdercoat color.

        - 36" models:

            - Satin

    - Dimensions (Choose model(s) below):

      - 53" models:

        - 9.9" wide x 12.9" deep x 53" high.

      - 36" models:

        - 7.0" wide x 8.2" deep x 36.5" high.

    - Charging Receptacle

      - 15A GFCI receptacle with two traditional outlets plus one each USB-A and USB-C.

      - 2.0A charging capacity is shared between ports.

    - Mounting:

      - Standard: Surface Mount with anchor bolts or epoxy anchors. Stainless steel mounting hardware

sold separately.

Part 3		Execution

- Examination

  - Verify that substrates are stable and capable of supporting the weight of items covered under this section.

  - Verify that substrates have been adequately prepared to securely anchor those items that will be surface

mounted.

- Installation

  - Install according to the manufacturer’s installation instructions.

  - Install in conformance to applicable ADA guidelines and End User’s established Accessibility policies.

END OF SECTION