DIVISION 12 00 00 				FURNISHINGS

SECTION 12 93 00 				SITE FURNISHINGS

SECTION 12 93 43 				SITE SEATING AND TABLES

SECTION 12 93 43.13 		SITE SEATING

FLIGHT BENCH

Part 1		General

- Summary

  - Section Includes:

    - Backed bench, 6 foot, aluminum frame, extruded aluminum slats.

    - Backed bench, 6 foot, aluminum frame, FSC 100% Cumaru hardwood slats.

    - Backless bench, 6 foot, aluminum frame, extruded aluminum slats.

    - Backless bench, 6 foot, aluminum frame, FSC 100% Cumaru hardwood slats.

    - Backed bench, 8 foot, aluminum frame, extruded aluminum slats.

    - Backed bench, 8 foot, aluminum frame, FSC 100% Cumaru hardwood slats.

    - Backless bench, 8 foot, aluminum frame, extruded aluminum slats.

    - Backless bench, 8 foot, aluminum frame, FSC 100% Cumaru hardwood slats.

- Submittals

  - Provide submittals in accordance with Section 01 33 00 – Submittal Procedures.

  - Product data:

    - Manufacturer’s standard product literature.

    - Shop drawings.

    - Installation instructions.

    - Maintenance instructions.

  - Submit powdercoat finish samples for approval.

- Quality Assurance

  - Manufacturer Qualifications:

    - Minimum 15 years experience in the manufacture of site seating.

    - Forest Stewardship Council (“FSC”) Certified Supplier. Provide manufacturer’s FSC certification number.

    - Provide reference list of at least ten major transportation authorities, municipalities, universities, or

other high-use public environments currently using site seating fabricated by the manufacturer.

- Delivery, Storage and Handling

  - Handle products in accordance with manufacturer’s instructions.

  - Store products in manufacturer’s original packaging until ready for installation.

  - Protect products from impacts and abrasion during storage.

- Warranty

  - Provide manufacturer’s standard warranty:

    - Warranty terms: three years from date of invoice against defects in materials and workmanship.

Part 2		Products

- Manufacturer

  - Basis-of-design product: provide backless benches based on the product named:

    - Flight Bench by Forms+Surfaces.

    - Manufacturer Contact:
Forms+Surfaces
1901 William Flynn Highway

Glenshaw, PA 15116
phone: 800-451-0410

fax: 412-385-4715

email: sales@forms-surfaces.com

website: www.forms-surfaces.com

  - Benches

    - Materials:

      - Seat: (Choose one below):

        - Extruded aluminum slats.

        - FSC 100% Cumaru hardwood.

      - Bench frame: formed aluminum with invisible welds.

      - Optional armrests: cast aluminum.

    - Finishes

      - Bench seat: (Choose one below):

        - Extruded aluminum slats: polyester powdercoat (Select one option below):

            - Standard Texture from Forms+Surfaces Powdercoat Chart.

            - Custom RAL powdercoat color.

        - Wood slats: Penofin® hardwood formula “Transparent Natural.”

      - Bench frame and optional armrests: polyester powdercoat (Select one option below):

        - Standard Texture from Forms+Surfaces Powdercoat Chart.

        - Custom RAL powdercoat color.

    - Dimensions (Choose model below):

      - Backed bench, six foot, surface mount

        - Overall dimensions: 72" long x 20" deep x 30" high.

        - Seat dimensions: 17.8" deep x 18" high.

      - Backless bench, six foot, surface mount

        - Overall dimensions: 72" long x 17.8" deep x 18" high.

        - Seat dimensions: 17.8" deep x 18" high.

      - Backed bench, eight foot, surface mount

        - Overall dimensions: 96" long x 20" deep x 30" high.

        - Seat dimensions: 17.8" deep x 18" high.

      - Backless bench, eight foot, surface mount

        - Overall dimensions: 96" long x 17.8" deep x 18" high.

        - Seat dimensions: 17.8" deep x 18" high.

    - Mounting:

      - Surface mount. threaded anchors and stainless steel mounting hardware are sold separately.

Part 3		Execution

- Examination

  - Verify that substrates are stable and capable of supporting the weight of items covered under this section.

  - Verify that substrates have been adequately prepared to securely anchor those items that will be surface

mounted.

- Installation.

  - Install according to the manufacturer’s installation instructions. Stainless steel mounting hardware sold separately

  - Install in conformance to applicable ADA guidelines and End User’s established Accessibility policies.

END OF SECTION