SECTION 08 81 13

DECORATIVE GLASS GLAZING

GENERAL

Summary

Section Includes: Laminated glass with graphic interlayer.

Related Sections:

Section 09770 – Special Wall Surfaces

Section 07 90 00 – Joint Protection

Section 08 11 00 – Metal Doors and Frames

Section 08 30 00 – Specialty Doors and Frames

Section 08 41 00 – Entrances and Storefronts

Section 08 81 00 – Glass Glazing

Section 08 44 00 – Curtain Wall and Glazed Assemblies

References

ASTM International

ASTM C 1036 Specification for Flat Glass

ASTM C 1048 Specification for Heat-Treated Flat Glass-Kind HS, Kind FT Coated and Uncoated Glass

ASTM C 1172 Specification for Laminated Architectural Flat Glass

ASTM E-774 Specification for Sealed Insulating Glass Units where insulating glass is specified

ANSl - American National Standards Institute

ANSI Z-97.1 Safety Performance Specifications and Methods of Test Used in Buildings

CPSC 16 CFR 1201 Safety Standard for Architectural Glazing Materials, Category I and II

Submittals

Provide submittals in accordance with Section 01305 – Submittal Procedures.

Submit manufacturer’s shop drawings, installation drawings, installation instructions and maintenance instructions.

Submit environmental impact data for all materials.

Submit samples no less than 4" x 4" for all specified glass configurations.

Manufacturer information:

Provide overview literature describing manufacturer’s overall scope of products and manufacturing capabilities.

Provide URL for manufacturer’s website; website must provide access to technical data, images and general product information.

Quality Assurance

Manufacturer Qualifications

Minimum 10 years experience in the manufacture of laminated glass.

Minimum 10 years experience in the fabrication of laminated glass.

Provide test reports indicating products meet or exceed specified requirements.

Installer Qualifications

Minimum three years experience in the installation of glass.

Delivery, Storage and Handling

Deliver materials to installation site in manufacturer’s original packaging. Handle products in accordance with manufacturer’s instructions. Store in dry, secure location, protected against direct sunlight and excessive heat. Protect finished surfaces with strippable film.

Warranty

Provide manufacturer’s standard warranty.

Warranty terms: one year against defects in materials and workmanship.

PRODUCT

Manufacturer

Forms+Surfaces
1901 William Flynn Highway
Glenshaw, PA 15116
Phone: 800-451-0410
Fax: 412-385-3715
Email: sales@forms-surfaces.com
Website: www.forms-surfaces.com

ViviGraphix Graphica Laminated Glass

Material

Configuration: Reflect, View, LightPlane Panel (choose one)

Pattern: Cairo, Centene, Current, Drift, Frost, Glacier, Seagrass, Silkworm (choose one)

Color: Standard Non-Metallic VividGlass Color, Standard Metallic VividGlass Color, custom (choose one)

Finish: Standard, Pearlex+ (choose one)

Processing: polished edges, holes, cutouts, pattern cuts, none

Fire rating: ViviGraphix Graphica glass is Class A fire rated in accordance with ASTM designation E84-09, standard test method of surface burning characteristics of building materials. The foregoing test procedure is comparable to UL 723, ANSI/NFPA No. 255, and UBC No. 8-1.

EXECUTION

Preparation

Protect glass and equipment from damage caused by work of this Section.

Installation

Install VividGlass in accordance with manufacturer’s instructions at locations indicated on the drawings.

Cleaning and Protection

Protect laminated glazing in accordance with GANA Glazing Manual.

Clean laminated glazing materials in accordance with GANA Bulletin 01-0300.

- END OF SECTION