DIVISION 12 00 00					FURNISHINGS

SECTION 12 93 00					SITE FURNISHINGS

SECTION 12 93 43					SITE SEATING AND TABLES

SECTION 12 93 43.13			SITE SEATING

KNIGHT TABLE ENSEMBLE

Part 1		General

- Summary

  - Section Includes:

    - Six-foot, backed table ensemble with aluminum frame and FSC 100% Cumaru hardwood slats.

    - Six-foot, backed table ensemble with aluminum frame and extruded aluminum slats.

    - Six-foot, backless table ensemble with aluminum frame and FSC 100% Cumaru hardwood slats.

    - Six-foot, backless table ensemble with aluminum frame and extruded aluminum slats.

    - Six-foot, backed table ensemble with ADA option, aluminum frame, and FSC 100% Cumaru hardwood slats.

    - Six-foot, backed table ensemble with ADA option, aluminum frame, and extruded aluminum slats.

    - Six-foot, backless table ensemble with ADA option, aluminum frame, and FSC 100% Cumaru hardwood slats.

    - Six-foot, backless table ensemble with ADA option, aluminum frame and extruded aluminum slats.

- Submittals

  - Provide submittals in accordance with Section 01 33 00 – Submittal Procedures.

  - Product data:

    - Manufacturer’s standard product literature.

    - Shop drawings.

    - Installation instructions.

    - Maintenance instructions.

  - Submit powdercoat finish samples for approval.

- Quality Assurance

  - Manufacturer Qualifications:

    - Minimum 15 years experience in the manufacture of site furniture.

    - FSC Certified Supplier. Provide manufacturer’s FSC certification number.

    - Provide reference list of at least ten major transportation authorities, municipalities, universities, or other high-use public environments currently using site seating fabricated by the manufacturer.

- Delivery, Storage and Handling

  - Handle products in accordance with manufacturer’s instructions.

  - Store products in manufacturer’s original packaging until ready for installation.

  - Protect products from impacts and abrasion during storage.

- Warranty

  - Provide manufacturer’s standard warranty.

    - Warranty terms: three years from date of invoice against defects in materials and workmanship.

Part 2		Products

- Manufacturer

  - Basis-of-design product: 	provide table ensembles based on the product named:

    - Knight Table Ensemble by Forms+Surfaces.

    - Manufacturer Contact:
Forms+Surfaces
1901 William Flynn Highway 
Glenshaw, PA 15116
phone: 800-451-0410

fax: 412-385-4715

email: sales@forms-surfaces.com

website: www.forms-surfaces.com

  - Table Ensemble

    - Materials:

      - Frames: solid aluminum.

    - Slats (Select one option below):

      - FSC 100% Cumaru hardwood

      - Extruded aluminum slats

    - Fasteners: stainless steel.

    - Finishes:

      - Frames: polyester powdercoat (Select one option below):

        - Standard Texture from Forms+Surfaces Powdercoat Chart.

        - Custom RAL powdercoat color.

      - Slats, wood: Penofin® hardwood formula, “Transparent Natural.”

      - Slats, metal: polyester powdercoat (Select one option below):

        - Standard Texture from Forms+Surfaces Powdercoat Chart.

        - Custom RAL powdercoat color.

    - Dimensions:

      - Knight Table Ensemble, backed:

        - Knight Table Ensemble (set): 72" overall length, 85.3" overall depth, 31.1" overall height.

        - Knight Table Ensemble (bench): 72" length, 22.6" depth, 31.1" height.

        - Knight Table Ensemble (ADA bench): 36" length, 21.9" depth, 31.1" height.

        - Knight Table Ensemble (table): 72" length, 37" depth, 30.4" height.

      - Knight Table Ensemble, backless:

        - Knight Table Ensemble (set): 72" overall length, 79.5" overall depth, 30.4" overall height.

        - Knight Table Ensemble (bench): 72" length, 19.8" depth, 18" height.

        - Knight Table Ensemble (ADA bench): 36" length, 19.8" depth, 18" height.

        - Knight Table Ensemble (table): 72" length, 37" depth, 30.4" height.

    - Weight:

      - Knight Table Ensemble, backed, Cumaru wood slats:

        - Knight Table Ensemble: 392 lbs.

        - Knight Table Ensemble with ADA option: 356 lbs.

      - Knight Table Ensemble, backless, Cumaru wood slats:

        - Knight Table Ensemble: 336 lbs.

        - Knight Table Ensemble with ADA option: 300 lbs.

      - Knight Table Ensemble, backed, extruded aluminum slats:

        - Knight Table Ensemble: 484 lbs.

        - Knight Table Ensemble with ADA option: 424 lbs.

      - Knight Table Ensemble, backless, extruded aluminum slats:

        - Knight Table Ensemble: 391lbs.

        - Knight Table Ensemble with ADA option: 350 lbs.

    - Mounting:

        - Surface mount. Stainless steel anchors and mounting bolts are sold separately.

Part 3		Execution

- Examination

  - Verify that substrates are stable and capable of supporting the weight of items covered under this section.

  - Verify that substrates have been adequately prepared to securely anchor those items that will be surface mounted.

- Installation

  - Install according to the manufacturer’s installation instructions.

  - Install in conformance to applicable ADA guidelines and End User’s established accessibility policies.

END OF SECTION